11.  ELECTRICAL  MEASUREMENTS

- 11.1.  Electrical measurements

1.  The measurement of a physical quantity  m  consists in comparing it with another quantity of the same nature,  u , taken as a unit, and determining their ratio,

v=mu     ,

which constitutes the (numerical) value of the measured quantity. The (numerical) value of the measured quantity results then to be a dimensionless quantity, inversely proportional to the magnitude of the unit quantity used.

The result of a measurement is by no means exact: imperfections of the measuring instrument, inaccurate observations or other accidental events can distort the measured value  vm  from the actual value  v  by an absolute measurement error

Δv=vm−v   .

The fact is that the true actual value is not known. Instead, a reference value  v0  can be accepted, as, for instance, a value measured by using more accurate measurement instruments or procedures; the absolute error is then approximated as

Δv≃vm−v0     .

Correspondingly, the relative measurement error is

δv≃Δvv0=vm−v0v0     ,

and is often expressed as a percentage.

In most situations, after eliminating the systematic errors, the accidental errors are subjected to a normal (Gauss) distribution law. In this case, starting with a sequence of measured values  vi i=1,n  of the same quantity, the most probable value of it is the average value

vav=v1+...+vnn=1n i=1nvi     ,

with a r.m.s. error

σ= i=1nvi−vav2n n−1     .

The probable value of the measured quantity consequently lies within the interval

vprob=vav±σ     ,

and the measured values  vk  for which

vk−vav>3 σ

have to be discarded.

In the case of a direct measurement (when a physical quantity is directly measured by the indication of a measuring instrument), the accuracy class  c  of the measuring instrument (indicated on its scale) specifies the maximum admissible indication error  Δvadm  the instrument may present, at any point on its scale, relative to its maximum measuring domain  vM  (corresponding to full–scale),

c=ΔvadmvM⋅100    in  percents     .

The absolute measurement error is then bounded by

Δvmax=c100 vM   ,

and the maximum relative error

δvmax=Δvmaxvm=c100 vMvm

is reduced when the instrument indication approaches the full–scale indication.

In the case of an indirect measurement (when the measured value is computed as

v=fv1,..., vn

depending on other directely measured quantities  v1 , … , vn )  the maximum absolute error is

Δv=∂f∂v1 Δv1+...+∂f∂vn Δvn

and the corresponding maximum relative error can be obtained simply by using the so called logarithmic differential,

δv=Δvv=∂lnf∂v1 Δv1+...+∂lnf∂vn Δv     .

There are two types of measuring instruments: analogous instruments, which offer in principle the result of the measurement operation as a real number, evaluated by the position of a pointer on a marked scale, and digital instruments, which offer the result of the measurement on a screen as a decimal number with a given number of digits (decimal positions).

2.  The analogous instruments were the first to be developed. The operating principle of such a classical electrical measuring instrument is the fact that an electromagnetic force or torque exerted on the mobile part of the instrument is balanced by an elastic force or torque, proportional to the departure of the mobile part from an equilibrium position. The magnitude of the active electromagnetic torque (force) depends on the electromagnetic quantity to be measured; the magnitude of the restoring elastic torque (force) is proportional with the deformation of the elastic element used. The mechanical equilibrium of the opposite torques,

Tactv,α=Trestα      ⇔      Tactv,α=k⋅α      ⇔      fα=gv   ,

results in a definite dependence of the instrument indication (usually an angle)    as a function of the quantity  v  to be measured. The value of the measured quantity can thus be read as the angle    corresponding to the position of the instrument pointer with respect to an adequately calibrated scale.

On the other hand, in order to reach quickly but smoothly its final position, the mobile part of the instrument is provided with some damping device which imposes a speed–proportional friction torque (force). Let  t = 0  be the moment when the active electromagnetic torque, say, is applied to the mobile part, impressing a movement towards the indication  m  corresponding to the measured value. This indication is reached after some time, depending on the type of movement of the mobile part (fig. 11.1):  (1) – damped nonperiodical,  (2) – critical nonperiodical,  (3) – damped periodical. The best mechanical adjustment is that which determines a slightly overcritical behaviour (4) of the mobile part – the final indication  m  is reached smoothly and quickly enough.

Fig. 11.1.

The above discussion is valid in the case when a constant quantity is measured. If, however, the measured quantity is time–varying, in such a way that the active electromagnetic troque, say, consists in a constant (average) component and a time–varying component,

Tactt=Tact  av+Tact  vart   ,

then the corresponding indication would admit a similar decomposition,

αt=αav+αvart   .

The actual indication of the measuring instrument is reached when the active torque is balanced by the elastic restoring torque

Trest=k α   ,

provided by a spring of elastic constant  k .

The average indication obviously is

αav=Tact  avk   ,

and the  time–varying  indication  depends on the  rate of the  time–variation of the  time–

varying component of the active torque. If a harmonic time–variation of angular frequency    is supposed, then the maximum value of the time–varying component of the indication is

αvar  max=Tact  var  maxk Ωω2   ,

where    is the proper angular frequency of the mobile part of the measuring instrument.

The modern measuring instruments offer a digitised indication: a number is displayed, along with the corresponding unit, to indicate the measured value.

The maximum absolute error of such a digital measuring instrument is generaly equal to the value corresponding to unity in the least significant position on the digital scale of the instrument.

The numerical indication usualy corresponds to the measured value at the moment when the conversion to a numerical (digital) value was achieved. This means that a digital measuring instrument provides samples of the measured quantity at a certain finite rate.

Let a simple example of a digital voltmeter be considered. The general block–diagram of the instrument is presented in fig. 11.2, where the main parts of the digital equipment are shown along with the signals of interest.

Fig. 11.2.

The operation of this digital voltmeter is based on the chain of successive conversions  voltage  duration   number, as near as possible according to proportional correspondences. The voltage  u  to be measured is compared to a linearly increasing time–varying voltage  uL , periodicaly generated by the appropriate generator as

uL=UMtT      ,      t∈0,T

over each period of duration  T . At the moment  T1 , when the linear voltage reaches the value of the measured voltage, one has

u=UMT1T      ⇔      T1=TUM u=kV→T⋅u   ,

corresponding to the  voltage  duration  (proportional) conversion. The moment  T1  is sensed by the comparator circuit, which sends the closing signal  sF  to the gate circuit at this precise instant. The gate circuit allows the passage of a signal during the time interval between the moment of receiving an opening signal  sI  from the generator of linearly increasing voltage at the initial moment  t = 0  (of each measuring period), and the moment   T1  when the closing signal  sF  arrives. The signal passing through the gate circuit is represented by a train  sN  of periodic pulses of sufficiently high frequency, coming from a pulse generator and going to a pulse counter. This way, if  TI  is the period of the generated pulses  sG  , then their number during the time interval  [ 0 , T1 ]  is

N1=T1TI=1TI T1     ⇔      N1=kT→N⋅T1   ,

corresponding to the  time  number  (proportional) conversion. The number of pulses counted by the counter is displayed on an appropriate display as

Nk=kT→N⋅Tk=kT→N⋅kV→T⋅utk      ⇔      N=K⋅u   :

the indication provided by the instrument is proportional to, and can be expressed as, the voltage value at the measuring moment  tk . The measurement process is repeated during the following periods of the linearly increasing voltage, so that the displayed digital indications represent samples of the measured voltage at certain moments during these periods.

There are different types of digital instruments, but their common feature is that finaly an analog–to–digital conversion has to be performed so that a digital indication is available.

- 11.2.  Electrical  measuring  instruments

An electrical measurement instrument is an instrument able to give an indication directly dependent on an electromagnetic quantity to be measured. The electromagnetic quantity directly measured is that which influences the active electromagnetic force or torque exerted on the mobile part of the instrument. The operating principle of the most common electrical measuring instruments is briefly presented in the following.

1.  The  moving–coil permanent–magnet instrument  consists in a fixed magnetic circuit with a permanent magnet as magnetic field source and a rotating coil to which the mobile equipment of the instrument (pointer, damper, etc.) is attached, along with a spiral spring to provide the elastic restoring torque.

The active torque is imposed by Laplace forces acting on the current carying coil of  N  turns placed in the external magnetic field provided by the magnetic circuit. The magnetic circuit usualy presents two polar pieces of cylindrical contour, coaxial with a cylindrical highly permeable core (fig. 11.3), so that the magnetic flux density  B  is radially oriented and practicaly uniform inside the air gap. The active torque acting on the rotating coil of radius  r  and length  l  carying the current of intensity  i  is

Tact=N⋅2 rF=N⋅2r⋅i l B=N⋅S⋅B⋅i=Φtot⋅i   ,

Fig. 11.3.

where  S = 2rl  is the turn area and   tot  is the total magnetic flux across the coil surface. This torque rotates the coil (and the mobile equipment) tending to align the magnetic field generated by the coil current with the  N–S  direction of the magnetic field generated in the magnetic circuit by the permanent magnet.

The restoring torque

Trest=k α

is provided by spiral elastic spring(s) so that the indication    given by the pointer of the instrument corresponds to the mechanical equilibrium of the mobile system,

Tact=Trest      ⇔     Φtot⋅i=k α      ⇔      α=Φtotk i      ⇔      α=C⋅i     ,

where  C  is the instrument constant (sensitivity).

This measuring instrument is thus essentialy a proportional ampermeter – it measures the intensity of the electric conduction current carried by the coil.

2.  The  moving–iron instrument  consists in a fixed coil and a rotating iron armature to which the mobile equipment of the instrument (pointer, damper, etc.) is attached, along with a spiral spring (fig. 11.4).

Fig. 11.4.

The active torque is imposed by the (electro-)magnetic force determined by the fact that the coil inductance depends on the position of the rotating iron armature, which plays the role of a variable ferromagnetic coil core. The coil inductance is given by a formula similar to that derived for a very long solenoid,

L=μeffα N2Sleff=Lα   ,

where   eff  is the effective average permeability of the coil core, depending on the position of the rotating iron armature. According with the theorem of generalised magnetic forces, in such a system where the generalised coordinate characterising the relative positions of the mobile and fixed parts of the instrument is the indication angle    , the generalised force is just the active torque. It is therefore computed as

Tact=∂W∂α| i=const.=∂∂αLα i22| i=const.=i22 ∂L∂α=Kα⋅i2   .

This active torque rotates the mobile armature (and the mobile equipment) by attracting it inside the current carrying coil, which acts like an electromagnet.

The restoring torque

Trest=k α

is again provided by spiral elastic spring(s) so that the indication    given by the pointer of the instrument corresponds to the mechanical equilibrium of the mobile system,

Tact=Trest      ⇔     Kα⋅i2=k α      ⇔      fα=i2     .

In particular, if  Kα≃K=const.,  then the mechanical equilibrium equation would give

Tact=Trest      ⇔     K⋅i2=k α      ⇔      α=Kk i2      ⇔      α=C⋅i2     ,

where  C  is the instrument constant (sensitivity).

This measuring instrument is thus essentialy a quadratic ampermeter – it measures the square of the intensity of the electric conduction current carried by the coil. Actualy, by a special design of the shape of the iron armature, the multiplicative factor of the active torque  Kα  can be arranged to determine an almost linear  αi  dependence, i.e. an almost linear indication over most of the instrument scale.

3.  The  electrodynamic instrument  consists in a fixed outer coil and a rotating inner coil to which the mobile equipment of the instrument (pointer, damper, etc.) is attached, along with a spiral spring (fig. 11.5).

Fig. 11.5.

The active torque is imposed by the so called electrodynamic force, determined by the fact that the coupling (mutual) inductance between the two coils depends on the rotation angle of the mobile inner coil  2  (with  N2  turns of surface  S2 ) with respect to the fixed outer coil  1  (with. N1  turns over the length  l1 ). The coupling inductance was derived earlier, in section 7.1, as

L12=μ N1N2S2l1 cosα   .

According with the theorem of generalised magnetic forces, in this system the generalised coordinate characterising the relative positions of the mobile and fixed parts of the instrument is the indication angle   , so that the generalised force is just the active torque. It is therefore computed as

Tact=∂W∂α| i=const.=∂∂αL11i122+L22i222+L12α i1i2| i=const.=i1i2 ∂L12∂α=   .

=− i1 i2 μ N1N2S2l1 sinα=Kα⋅i1i2   .

This torque rotates the mobile inner coil (and the mobile equipment) tending to align with one another the magnetic fields generated by the currents carried by the two coils.

The restoring torque

Trest=k α

is again provided by spiral elastic spring(s) so that the indication    given by the pointer of the instrument corresponds to the mechanical equilibrium of the mobile system,

Tact=Trest      ⇔     Kα⋅i1i2=k α      ⇔      fα=i1i2     .

In particular, if the same current  i1=i2=i  is carried by both coils of the instrument, then the mechanical equilibrium equation would give

Tact=Trest      ⇔      Kα⋅i2=k α      ⇔      fα=i2     .

This measuring instrument is therefore essentialy a quadratic instrument: it can either measure a product of currents carried separately by each coil, or be used as a quadratic ampermeter to measure the square of the current carried by both coils.

4.  The  electrostatic instrument  is essentialy a capacitor of variable capacitance, consisting in a set of fixed plates and a set of rotating plates to which the mobile equipment of the instrument (pointer, damper, etc.) is attached, along with a spiral spring (fig. 11.6). The shape of both mobile and fixed plates is a circular sector, adequate to the relative rotation of the plates. Moreover, each set includes a number of plates with a view to increase the active surface of the equivalent capacitor.

Fig. 11.6.

The active torque is an electrostatic torque determined by the fact that the capacitance depends on the position of the rotating plates with respect to the fixed plates. If the fringe effects associated with lateral field lines are neglected, the total capacitance of the capacitor corresponds to the parallel connection of capacitances corresponding to the face–to–face surfaces of each mobile and fixed plate,

C=2 N⋅ε0Sd=2 N⋅ε0d ⋅ α R22=ε0N R2d⋅α   ,

where  N  is the number of mobile plates of radius  R , d  is the distance between a mobile and a fixed plate,    is the angle subtending the face–to–face surfaces of each mobile and fixed plate, and   0  is approximately the permittivity of the air. According with the theorem of generalised electric forces, in this system where the generalised coordinate characterising the relative positions of the mobile and fixed parts of the instrument is the indication angle   , the generalised force is just the active torque. It is therefore computed as

Tact=∂W∂α| u=const.=∂∂αCα u22| u=const.=u22 ∂C∂α=ε0N R22 d⋅u2=K⋅u2   .

The restoring torque

Trest=k α

is provided as usual by spiral elastic spring(s) so that the indication    given by the pointer of the instrument corresponds to the mechanical equilibrium of the mobile system,

Tact=Trest      ⇔     K⋅u2=k α      ⇔      α=Kk u2      ⇔      α=C⋅u2     ,

where  C  is the instrument constant (sensitivity).

This measuring instrument is thus essentialy a quadratic voltmeter: it measures the square of the voltage applied between the terminals – that is, between the mobile and fixed plates – of the instrument. Actualy, by a special design of the shape of the plates, the multiplicative factor  K  of the active torque can be designed as such a function  Kα  that it determines an almost linear  αu  dependence, i.e. an almost linear indication over most of the instrument scale.

5.  The  induction instrument  consists in a metallic disc that can rotate in the airgaps of two magnetic circuits where alternating magnetic fluxes are determined by different alternating currents. A counter is attached to the disk axis, so that it can count the number of rotations the disk performs (fig. 11.7).

The active torque is imposed by the electromagnetic forces determined by the interaction of each magnetic flux with the electric current determined by the e.m.f. induced by the other time–varying magnetic flux. Indeed, let the contours  a  and  b  be chosen inside the metallic disk, approximately centered with respect to the air gaps where the corresponding magnetic fluxes  Φat  and  Φbt  are imposed. Let the same reference direction be chosen for the normals to the surfaces bordered by the contours and let it be the same for the magnetic fluxes as well. The magnetic fluxes are supposed to be harmonic time–varying fluxes, so that one can operate with their complex representatives  Φa  and  Φb . According with Faraday’s law on electromagnetic induction, a time–varying magnetic flux  ΦSΓt  over a surface induces an induced e.m.f.

eΓ=− ddt ΦSΓ

along the contour of the surface. Since the time derivative of a harmonic time–varying quantity corresponds to the multiplication of the associated complex representative by   j  ,

dΦdt      ⇔      jω Φ   ,

the complex e.m.f. induced by each complex magnetic flux along the associated contour is

Φa    ⇒    Ea=−jω Φa      ,      Φb    ⇒    Eb=−jω Φb   .

Fig. 11.7.

The currents developed by the induced e.m.f.’s in the metallic disk along their associated contours thus present a   – /2   phase difference with respect to the corresponding inductor magnetic flux. The instantaneous electromagnetic torque acting on the disk is then determined by the electromagnetic forces exerted on the disk–carried current  iat  in the external magnetic flux  Φbt  and on the disk–carried current  ibt  in the external magnetic flux  Φat . Moreover, since the two torques are active in off–axis regions, they act in opposite directions, and calculations similar to that performed in relation with the active torque in the moving–coil permanent–magnet instrument result in the expression

Tactt=Tat−Tbt=KaΦat ibt−KbΦbt iat

of the resulting active torque acting on the disk of the induction instrument. The average active torque over a period of the alternating currents finaly results as

Tact=1TTactt dt=1TKaΦat ibt−KbΦbt iat dt=

=KaΦaIbcos Φa , Ib−KbΦbIacos Φb , Ia   :

it would accelerate indefinitely the disk in the direction of the resulting torque.

The restoring torque is provided by an  electromagnetic brake. A permanent magnet is placed over a region of the metallic disk outside the regions where the active torque is acting (fig. 11.8). According to the detailed expression of Faraday’s law,

eΓ=− ∂B∂t⋅n dS+v×B⋅dr   ,

the  movement with respect to a  magnetic field  induces an  e.m.f.  Thus,  in the  constant

field of magnetic flux density  B0  of the permanent magnet, an elementary e.m.f.

de=v×B0⋅dr=v B0 sinπ2 dr cos 0=v B0 dr >0

Fig. 11.8.

is induced in the outward radial direction along each elementary radial segment  dr . The total e.m.f. along the disk radius  a , rotating with the angular speed   ,

e=de=v B0 dr=B0 Ω r dr=Ω B0 a22   ,

generates in the same outward radial direction a conduction current of intensity

i=eR=Ω B0 a22 R   ,

where  R  is the equivalent resistance of the current path in the metallic disk. In turn, this current determines a Laplace’s electromagnetic force

dF=i dr×B0

to act on the metallic disc in the magnetic field of the permanent magnet, opposite to the direction of rotation. The magnitude of this braking force,

dF=i dr B0 sinπ2=i dr B0=Ω B0 a22 R B0 dr   .

is proportional to the rotation speed. The same is valid for the corresponding torque,	Trest=r dF=r Ω B02 a22 R dr=Ω B02 a22 R r dr=B02 a44 R Ω   ,

which is therefore a restoring torque, opposite and proportional to the rotation speed.

The disk is accelerated under the action of the active torque but, as its angular speed    increases, the restoring torque also increases until it becomes equal to the active torque; from that moment on, the disk rotates with a constant angular velocity    given by

Tact=Ω B02 a44 R      ⇒      Ω=4 RB02 a4 Tact      ⇔      Ω=k Tact   .

A counter mounted on the same axis as the disk counts the rotations; its indication  N  over a time interval    is the number of full  2  rotations,

N=α2π=12πΩ dt=12πk Tact dt=k Tact2π τ      ⇒     N=C Tact τ     ;

this indication is proportional to the time integral of the active torque, where  C  is the instrument constant (sensitivity).

The electric measuring instruments briefly presented above are but the most common such instruments. There also are other measuring instruments operating on some different principles (thermal, thermoelectric, etc.) which are not discussed here. The table below presents some usual symbols found on the scale of electric measuring instruments – these symbols give important indications on the operation and performance of each instrument.

| # Description | # Symbol |
| --- | --- |
| Moving coil instrument |  |
| Moving coil instrument with rectifier |  |
| Moving–iron instrument |  |
| Electrodynamic instrument |  |
| Electrostatic instrument |  |
| Induction instrument |  |
| Accuracy class index (limit error as percentage of full–scale deflection) | 1.5 |
| Horizontal scale |  |
| Vertical scale |  |
| Scale inclined at 60 to the horizontal |  |
| Maximum admissible voltage between the case and the measuring circuit (in kV) |  |

11.3.  Measurement  of  electromagnetic  quantities

1.  The  intensity of the electric conduction current  is directly measured by using an ampermeter – a current measuring instrument – carrying the current to be measured. It follows that an ampermeter has to be series connected with the branch where the current is to be measured.

As it was presented in the preceding section, the moving–coil permanent–magnet instrument, the moving–iron instrument, and the electrodynamic instrument can be directly used as ampermeters. Some aspects rearding the use of an ampermeter remain to be discussed.

The moving–coil permanent–magnet ampermeter gives an indication proportional to the current. In the case of a time–varying current, however, the indication corresponds to the average current, up to an additional indication which decreases with the increase in the rate of time variation of the current. Since the average value of a harmonic time–varying quantity is zero, such an instrument gives a null indication for any value of an alternating current applied to it. For alternating current measurements, a moving–coil permanent–magnet ampermeter has to be inserted in a bridge rectifier circuit that transforms an alternating current into a pulsating current (fig. 11.9). The rectifier bridge includes semiconductor diodes, which are essentially nonlinear resistive elements with unilateral conduction; the bridge arrangement ensures that, for both positive and negative alternances of the alternative curent, the current keeps the same direction in the ampermeter. The nonzero average value of the pulsating rectified current can then be measured, giving an indication proportional to the effective value of the alternating current, namely  Ieff=π2 2Iav . There are no such problems with using the moving–iron or the electrodynamic ampermeters for the measurement of alternating currents: in this case the indication is proportional with the time average of the square of the current, which is just the square of the effective value of the alternating current.

Fig. 11.9.

It is very important that the measuring instrument do not influence the quantity to be measured. Let a simple circuit be considered, consisting of a (passive) branch of resistance  R  carrying a current of intensity  I  under a given voltage  U  applied at terminals (fig. 11.10 left). An ampermeter of internal resistance  rA  is series connected in the branch, which measures a value  Im  of the current (fig. 11.10 right) for the same applied voltage. It is obvious that the two currents are different,

I=UR≠UR+rA=Im   .

The relative error determined by the very introduction of the measuring instrument is

δI=ΔII=Im−II=UR+rARU−1=RR+rA−1=rAR+rA=rA/R1+rA/R

Fig. 11.10. 				         Fig. 11.11.

and it tends to zero along with the ratio  rAR . The conclusion is that, in order to minimize the influence of the measuring instrument on the measured current, the internal resistance of an ampermeter must be negligible with respect to all other resistances (or, more general, impedances) in the circuit,

rA≪R     .

By construction, the instrument used as an ampermeter can measure a maximum (nominal) current  IA  corresponding to the full–scale indication. If larger currents are to be measured, the amprermeter has to be provided with a shunt resistance so that the instrument carries a definite fraction of the total current only. Let

IM=n IA

be the new desired maximum curent value to be measured; then a resistance of value  RS  is parallel connected with the ampermeter of internal resistance  rA  (fig. 11.11) to carry the excess current  IS . Since the voltage at terminals is the same for a parallel connection, it means that

rA IA=Rp IM   ,

where

1Rp=1rA+1RS=rA+RSrA RS      ⇔      Rp=rA RSrA+RS   .

The value of the shunt resistance is then simply computed as

rA IA=rA RSrA+RS n IA      ⇔      n RS=rA+RS      ⇒      RS=rAn−1   .

2.  The  electric voltage  between two points is directly measured by using a voltmeter. It immediately follows that if the voltage between two terminals of a circuit is to be measured, then the voltmeter has to be parallel connected with the circuit.

As it was presented in the preceding section, the electrostatic instrument measures directly the voltage between its terminals.

The moving–coil permanent–magnet instrument, the moving–iron instrument, and the electrodynamic instrument, which can directly measure the electric current intensity, can be used as voltmeters if the current they measure is proportional to the voltage to be measured. To this end an additional resistance is series connected with the current measuring instrument (fig. 11.12). Then, if the instrument of internal resistance denoted here as  RV  can sustain a maximum (nominal) voltage  UV  at full–scale indication, and a maximum voltage

UM=n UV

is to be measured, then the additional resistance  Ra  has to sustain the excess voltage. Since the current between the terminals is the same for a series connection, it means that

UVRV=UMRs   ,

where

Rs=RV+Ra   .

The value of the additional resistance is then simply computed as

UVRV=n UVRV+Ra      ⇔      n RV=RV+Ra      ⇒      Ra=n−1 RV   .

Fig. 11.12. 				      Fig. 11.13.

A voltmeter using a moving–coil permanent–magnet instrument gives an indication proportional with the voltage. Therefore, in view to measure time–varying voltages – and, in particular, alternating voltages – the instrument has to be supplemented with a rectifier circuit, as it was discussed above. There are no such problems with using the moving–iron, the electro-dynamic, and the electrostatic instruments for the measurement of alternating voltages: in this case the indication is proportional with the time average of the square of the voltage, which is just the square of the effective value of the alternating voltage.

It is very important that the meauring instrument do not influence the quantity to be measured. Let a simple circuit be considered, consisting of a (passive) branch of resistance  R  where an injected current of intensity  I  determines the voltage  U  between the terminals (fig. 11.13 left). A voltmeter of internal resistance  RV  is parallel connected with the branch, measuring a value  Um  of the voltage (fig. 11.13 right) for the same total injected current. It is obvious that the two voltages are different,

U=R I≠Rp I=R RVR+RV I=Um   .

The relative error determined by the very introduction of the measuring instrument is

δU=ΔUU=Um−UU=R RVR+RV1R−1=RVR+RV−1=RR+RV=R/RV1+R/RV

and it tends to zero along with the ratio  RRV . The conclusion is that, in order to minimize the influence of the measuring instrument on the measured voltage, the internal resistance of a voltmeter must be very great in comparison with all other resistances (or, more general, impedances) in the circuit,

RV≫R     .

A somewhat different method to measure a voltage, which avoids the power loss across the terminals when the voltage is measured, is the  compensation method. A loop is constructed,  including the  voltage to be measured  Ux , the  compensating voltage  Uc ,

Fig. 11.14.

and a current sensing instrument – an ampermeter or even the sensor of a control equipment (fig. 11.14). The sensing instrument detects the eventual unbalance of voltages, and the compensating voltage is so modified – either by the observer, or by an automatic control equipment – as to cancel the voltage unbalance. The value of the compensating voltage is precisely equal to that of the measured

voltage when the current sensing instrument carries no current,

I=Ux−Ucr=0      ⇒      Ux=Uc   ;

as well, at that moment there is no power transfer at the terminals of the measured voltage since there is no current there.

3.  The  electric power  transferred at the terminals of a dipole is directly measured by using a wattmeter. It must be noted that, since the power transfer at the terminals of a dipole depends on the voltage and the current at terminals, a wattmeter has to offer two terminals between which the dipole current is to be carried and other two terminals between which the dipole voltage is to be applied.

A simple inspection of the operation of the measuring instruments presented in the preceding section indicates the electrodinamic instrument as the candidate to be used as a wattmeter. Let one of the coils – named the current coil – offer by construction a negligible resistance  rI , and let the other coil – called the voltage coil – offer by construction a very large resistance  RU  (or be provided with a series additional resistance, as it was the case above with the voltmeter). If the dipole current is carried by the first coil and the dipole voltage is applied at the terminals of the second coil (fig. 11.15), then

i1=i      ,      i2=uRU   .

The indication of the instrument is then given by

fα=i1 i2=i uRU=1RU u i=C⋅p   ,

that is the instrument measures the power transferred at the dipole terminals.

Fig. 11.15.

Some  comments  are to be made.

The wattmeter pointer moves in the right direction if the reference directions of the current and voltage are correctly taken care of. Therefore one terminal of each coil is marked (by an asterisk  *  or an arrow    or some other mark) to indicate the proper reference direction for the associated quantity – current or voltage.

As illustrated in fig. 11.15, there are two possible connections of a wattmeter at the terminals of a dipole, both resulting in unavoidable systematic measurement errors. Indeed, in the first circuit, the actual voltage applied between the wattmeter terminals is  um=u+rI i  instead of the correct value  u ;  this results in a relative error

δP=ΔPP=Pm−PP=umi−uiui=umu−1=rIiu=rIu/i=rIRdipole

of the measured power value. The error becomes negligible if the resistance  rI  of the current coil of the wattmeter is negligible with respect to the equivalent dipole resistance (impedance)  Rdipole  between its terminals. Similarly, in the second circuit, the actual current injected into the wattmeter terminals is  im=i+u/RU  instead of the correct value  i ;  this results in a relative error

δP=ΔPP=Pm−PP=uim−uiui=imi−1=uRUi=u/iRU=RdipoleRU

of the measured power value. The error becomes negligible if the resistance  RU  of the voltage coil of the wattmeter is very great with respect to the equivalent dipole resistance (impedance)  Rdipole  between its terminals.

The previous analysis of the wattmeter operation shows that this instrument would measure the instantaneous power if the rate of time–variation of electrical quantities is not too large and the mobile system can follow the time–dependent active torque. At quite low frequencies, however, this is no longer possible, and the electrodynamic instrument gives an indication dependent on the time–average of the instantaneous power, which is the  active power. The electrodynamic instrument can thus be used as an active power wattmeter under alternating current conditions, offering an indication according to

fα=C⋅u i=C⋅1Tu i dt      ⇔        fα=C⋅P     .

The measurement of the  reactive power  under alternating current conditions can be done if the additional resistance  RU  of the voltage coil of the electrodynamic instrument is substituted by a capacitor of sufficiently small capacitance or by a coil of sufficiently large inductance. The complex current in the voltage coil is then

I2=Ur2+1jωC≃jωC U=j UZU      or      I2=Ur2+jωL≃UjωL=−j UZU   ,

meaning that the current carried by the voltage coil is

i2t=1ZU U 2 sinωt+α±π2   ,

that is, proportional to the alternating voltage with the phase changed by  /2 . The corresponding indication of this instrument – called  varmeter – is then given by

fα=1Ti1 i2 dt=1ZU⋅1TI2sinωt+β U2sinωt+α±π2 dt      ⇔

     fα=C⋅Q   ,

that is the instrument measures the reactive power received by the dipole.

4.  The  (active) electric energy  transferred at the terminals of a dipole during a definite time interval is directly measured by using an  energy meter. It must be noted that, since the energy transfer at the terminals of a dipole depends on the voltage and the current at terminals, an energy meter has to be connected to the dipole terminals in the same manner as the wattmeter. As well, the comments presented above remain valid, in what concerns the error made in measuring either the voltage or the current (depending on the connection of the wattmeter in the circuit), with subsequent error on the measured energy.

Fig. 11.16.

A simple evaluation of the measuring instruments presented in the preceding section indicates the induction instrument as the candidate to be used as an energy meter under alternating current conditions. Let the coil  a – determining the magnetic flux  Φa  and named the voltage coil – offer by construction an inductance with a very large inductive impedance  ZU=ZU ejπ/2 , and let the coil  b – determining the magnetic flux  Φb  and called the current coil – offer by construction a negligible resistance  rI.. If the terminals of the induction instrument are connected to the dipole terminals in the same way as for the wattmeter, then, aproximately, the dipole voltage is applied at the terminals of the first coil and the dipole current is carried by the second coil, so that, since the magnetic fluxes have the same phase as the coil currents,

Φa=ΦU=ka UZU ejπ/2=kaZU U e−jπ/2   ,

Φb=ΦI=kb I   .

The currents determined in the metallic disk by the induced voltages  Ea=−jω Φa  and  Eb==−jω Φb  are delayed by the same  /2  phase difference with respect to the corresponding inductor magnetic fluxes, so that

Ia=IU=a⋅ΦU e−jπ/2=akaZUU e−jπ    ,    Ib=II=b⋅ΦI e−jπ/2=bkb I e−jπ/2  .

Let the dipole current  I  present a phase delay    with respect to the dipole voltage  U ; the phasor diagram in  fig. 11.16  shows that just the same phase delay is found between  Φa=ΦU  and  Ib=II , while the phase delay between  Φb=ΦI  and  Ia=IU  equals   –   . The average active torque of the induction instrument is then

Tact=1TTactt=KaΦaIbcos Φa , Ib−KbΦbIacos Φb , Ia=

=Ka⋅kaZUU⋅bkb I⋅cosϕ−Kb⋅kb I⋅akaZUU⋅cosπ−ϕ=

=kakbZUKab+Kba⋅U Icosϕ=K⋅P

Consequently, the indication given for a time duration    by the counter attached to the disk axis is

N=C Tact τ=C K⋅Pτ      ⇔        N=c⋅W     ,

that is proportional to the active power transferred to the dipole during this time interval.

The  reactive energy  transferred to a dipole during a time interval can also be measured by an induction instrument if it is modified with respect the active energy meter in the same way as the varmeter was modified with respect to the wattmeter.

5.  The  resistance  of a resistor can be directly measured by using an  ohmmeter, that is an instrument consisting in a voltage source, a moving–coil permanent–magnet ampermeter, and an internal variable resistor, all series connected between the terminals (fig. 11.17). The resistance measurement supposes two steps. The calibration step consists in adjusting the internal variable resistor so that, when the instrument terminals

are short–circuited, the full–scale indication is reached. In this situation a maximum current  IM  is present in the circuit, associated to a total adjusted resistance  Radj , and obviously corresponds to a zero value of the measured resistance between the terminals of the instrument. The measurement step consists in connecting the resistor to be measured between the terminals of the instrument and simply reading the indication of the instrument. The current measured by the ampermeter is now

Fig. 11.17.

I=ERadj+R=ERadj1+R/Radj=IM1+R/Radj=fR   ,

and the instrument indication,

α=C⋅I=C⋅fR   ,

can be marked directly in resistance units.

An indirect method of measuring a resistance is based on its very definition,

R=UI   ,

and supposes the measurement of the voltage applied at the resistor terminals and the resulting current at the same terminals (fig. 11.18). However, as it is apparent from the figure, this  ampermeter–voltmeter  method is necessarily associated with a measurement error.

Indeed, when the voltmeter terminals are connected directly at the resistor terminals, this instrument measures exactly the needed voltage,  UV=U , while the current measured by the ampermeter includes the current carried by the voltmeter,  IA=I+UV/RV=I+U/RV>I . Using this connection, one obtains a measured value of thr resistance

Rm=UVIA=UI+U/RV=1IU+1RV=11R+1RV=R RVR+RV   ,

Fig. 11.18.

which is smaller than the actual value  R . The measurement error is simply obtained as

δR=ΔRR=Rm−RR=RVR+RV−1=− RR+RV      ⇔        δR=− 11+RV/R     ,

and it becomes negligible when the voltmeter resistance is very great with respect to the measured resistance,

RV≫R   .

On the other hand, if the voltmeter resistance  RV  is known, then the actual value  R  of the measured resistance can be determined starting from the measured value  Rm ,

1Rm=1R+1RV      ⇔      1R=1Rm−1RV=RV−RmRVRm      ⇔        R=RVRmRV−Rm     .

In the case of the other circuit, when the voltmeter terminals are connected at the source terminals, the ampermeter measures exactly the needed current,  IA=I , while the voltage measured by the voltmeter includes the voltage developed between the terminals of the ampermeter,  UV=U+rA IA=U+rA I>U . Using this connection one obtains a measured resistance

Rm=UVIA=U+rAII=UI+rA=R+rA   ,

which is greater than the actual value  R . The measurement error is simply obtained as

δR=ΔRR=Rm−RR=R+rAR−1      ⇔        δR=rAR     ,

and it becomes negligible when the ampermeter resistance is negligible with respect to the measured resistance,

rA≪R   .

On the other hand, if the ampermeter resistance  rA  is known, then the actual value  R  of the measured resistance can be determined starting from the measured value  Rm ,

Rm=R+rA      ⇔        R=Rm−rA     .

Another indirect method for resistance measurements uses a so called  bridge circuit  (fig. 11.19). The unknown resistance  R1 = Rx  is connected along with other three known resistances,  R2 , R3 , R4 , as the four arms of the bridge, in  loop including four nodes; the measurement diagonal includes a current sensing instrument – an ampermeter or even the sensor of a control equipment – while the source diagonal includes a direct current generator applying a voltage  US  at the terminals of this diagonal.

Fig. 11.19.

Suppose that the known resistances in the bridge arms are adjusted (either by the observer, or by an automatic control equipment) in such a way that there is no current in the measurement diagonal and, correspondingly, no voltage across the measurement diagonal,

I=0      ⇔      U=0   .

Under this balance condition, the currents in the bridge arms are

I1=I2=USR1+R2      ,      I3=I4=USR3+R4   ,

so that the voltage across the measurement diagonal is obtained as

R1I1+U−R4I4=0      ⇔      U=R4I4−R1I1   .

The balance (equilibrium) condition thus becomes

R4USR3+R4 −R1USR1+R2      ⇔      R4R1+R2=R1R3+R4   ,

which finaly gives

R1R3=R2R4      ⇔        Rx=R1=R2R4R3     .

The balance is obtained by adjusting the value of one of the other three bridge resistances. Once the balance is reached, the value of the measured resistance is simply obtained from the values of the known resistances of the bridge. The accompanying errors are evaluated as for any indirect measurement of a physical quantity.

6.  The  elements of the complex impedance  a passive dipole can be measured, under alternating current conditions, by using a circuit similar to that employed for the measurement of a resistance, but including also a wattmeter (fig. 11.20). The idea is, for instance, to measure the  impedance  as

Z=UI≃UVIA=Zm     ,

and the  phase difference  according to

P=UI cosϕ≃PW      ⇒      cosϕ=PUI≃PWUVIA=cosϕm   ,

whence

ϕ=arccosPU I≃arccosPWUVIA=ϕm     .

Fig. 11.20.

Quite similarly, starting from the same measured values, one can compute the dipole equivalent  resistance  and  reactance, according with the relations

P=ReI2      ⇒        Re=PI2≃PWIA2=Rem     ,

Z=Re2+Xe2=UI    ⇒     Xe=UI2−Re2≃UVIA2−PWIA22=Xem    ,

or the dipole equivalent  conductance  and  susceptance, according with the relations

P=GeU2      ⇒        Ge=PU2≃PWUV2=Gem     ,

Y=Ge2+Be2=IU    ⇒      Be=IU2−Ge2≃IAUV2−PWUV22=Bem     .

In the first circuit, the voltmeter and the voltage coil of the wattmeter are operating correctly under the voltage  UV = U , while the ampermeter and the current coil of the wattmeter carry a current  IA=I+URU+URV>I , larger than the correct one. The ensuing errors in the measurement of the current and power result in errors in the calculated values of the elements of the dipole complex impedance; these errors can be evaluated following procedures similar to those presented above, in relation with the measurement of electric power and resistance.

In the second circuit, the ampermeter and the current coil of the wattmeter are operating correctly, carrying the current  IA = I , while the voltmeter and the voltage coil of the wattmeter operate under a voltage  UV=U+rII+rAI>U , larger than the correct one. The ensuing errors in the measurement of the voltage and power result in errors in the calculated values of the elements of the dipole complex impedance; these errors can again be evaluated following procedures similar to those presented above, in relation with the measurement of electric power and resistance.

Another, more precise, method of measuring the elements of the  complex impedance  of a dipole operating under alternating current conditions, is using an alternating current  bridge circuit. For a bridge circuit operating under alternating current conditions (fig. 11.21) in a similar manner as the direct current bridge circuit presented above, the three known complex impedances of the bridge are so adjusted that the complex current and voltage at the terminals of the measurement diagonal reach a zero value,

I=0      ⇔      U=0   .

Fig. 11.21.

An argument similar to that presented above in relation with the direct current bridge circuit gives the balance condition as

Z1Z3=Z2Z4   ,

whence

Zx=Z1=Z2Z4Z3     .

Since the complex impedance is characterised by two real parameters (for instance, resistance and reactance), the balance of such an alternanting curent bridge is usually obtained by adjusting two elements in the other three arms of it. The computation of the impedance/phase difference, or resistance/reactance, or conductance/susceptance  elements of the complex impedance depends on the particular components of the bridge impedances. As well, the evaluation of errors made when computing these elements depends on the details of the circuit.