14.  ELECTRIC  HEATING

- 14.1.  Heat generation, transmission and accumulation

Electric heating is the name of a technical discipline dealing with the transformation of electromagnetic energy into heat and the main applications of this phenomenon. The main theoretical objects of study are those indicated in the section title: the generation, transmission and accumulation of heat. The practical aspects are mainly concerned with specific ways of heat generation from electromagnetic energy, but also with adequate heat transmission and eventually accumulation. Moreover, it is only the electromagnetic aspects of the electric heating that are dealt with here – the constructive details, as well as those related to the exploitation of electric heating equipment, are matters of interest for other disciplines.

The theoretical basis of the electric heating is represented by the general principles of thermodynamics.

The  first principle of thermodynamics  states that for a physical system there exists a function of the state parameters, named internal energy, such that its increase during a state variation equals the sum of the (equivalent in) mechanical work acting upon the system and the heat received by it,

dU=δW+δQ     .

It is important to note that the internal energy  U  is a function of state, uniquely determined by the state parameters, while both the mechanical work and the heat transfer to or from a system are process–dependent quantities. Moreover, the mechanical work  W  is characterising the energy transfer associated to reversible actions exerted by or on the system, and the heat  Q  is characterising the irreversible transfer of energy to or from the system.

It is an immediate consequence of the first principle of thermodynamics which is invoked in the study of electric heating: under general isocore conditions (no change in the position state parameters), when  W = 0 , the increase in internal energy of a system equals the heat received by it. The important points here are the fact that, among other state parameters, the internal energy is an increasing function of temperature,

U=UT   ,

and the fact that the heat received by the system is either provided directly by the electro-magnetic energy dissipated into the very system or is received by transmission from another electromagnetically heated system (heater). Thus, the consequence discussed above is then simply expressed as

dUT| δW=0= dWel−mg. dissipated      ,      direct  heating   δQtransmitted             ,      indirect  heating   .

The  second  principle  of  thermodynamics  is applied to  the study of  the electric

heating in the form of a  consequence, stating that  the  heat  transfer  is  always  naturally

directed from a system of a higher temperature to a system of a lower temperature,

T1   Q   T2      ,      T1>T2     .

14.1.1.  Electromagnetic  heat  generation

The electromagnetic generation of heat is associated with the electric conduction or with hysteretic effects.

1.  Joule’s effect  consists in the irreversible transfer of the electromagnetic energy into the heat developed in a current carrying conductor. The volume density of the rate of heat generation is

pJ=ρ J2    or    σ E2   ,

and the rate of heat generation in a current carrying segment of conductor is

dQdt=PJ=R i2=G u2   .

It follows that the elementary heat generated by Joule’s effect in a passive conductor during an elementary time interval is

dQ=PJ dt=R i2 dt=G u2 dt=u i dt     .

2.  The completion of a  hysteresis cycle  – electric or magnetic – in an alternating electromagnetic field is accompanied by an irreversible transfer of electromagnetic energy into heat developed in the hysteretic substance. The volume density of energy transfer (and heat generation) per hysteresis cycle equals the area of the hysteresis cycle (fig. 14.1),

dQdV| hyst. cycle=whyst. cycle= E⋅dD=A el. cycle  H⋅dB=A mg. cycle   .

Fig. 14.1.

Correspondingly, if  f  is the frequency of the periodic alternating electromagnetic field, the  average  volume power density of  electromagnetic  energy  transferred into heat  in a

hysteretic substance is

p=f⋅ A el. cycle+A mg. cycle   ,

and the average heat generated during a time interval    in a domain  D  is

Q=τ f  A el. cycle+A mg. cycle dV

Two  remarks  are worth mentioning at this point.

First, Joule’s effect is permanently associated with the electric conduction, even under steady state conditions, while the heat generation in hysteretic substances is only present in alternating – or, more generally, time–varying – electromagnetic fields.

Fig. 14.2.

Second, there is a so called  electric  or  magnetic viscosity  of the substance that can be detected in high–frequency alternating electromagnetic fields. The electric viscosity consists in the fact that a sudden change in the applied electric field strength  E  induces a corresponding change in the (electric) polarisation (and, hence, in the electric displacement  D ), but only after a certain delay. Similarly, the magnetic viscosity consists in the fact that a sudden change in the applied magnetic field strength  H  induces a corresponding change in the magnetisation (and, hence, in the magnetic flux density  B ), but only after a certain delay. These phenomena can be described by  hysteresis–like cycles  D(E)  or  B(H)  as those in fig. 14.2, and result in an irreversible transfer of electromagnetic energy into heat, developed in the electrically or magnetically viscous substance just like for hysteretic substances. If the electric or magnetic field vectors have a harmonic time variation, then the electric or magnetic viscosity is translated into a phase difference of the electric displacement after the electric field strength or of the magnetic flux density after the magnetic field strength. In turn, this is described by a so called complex permittivity

ε=ε'−jε= lline  {underline  {ε}}  rline `e rSup { size 8{` - `j`δ} } } {

or a so called complex permeability

μ=μ'−jμ= lline  {underline  {μ}}  rline `e rSup { size 8{` - `j`ϑ} } } {   .

The heat can be electromagnetically generated in the substance intended to be heated or in a specially designed heater, whence the heat is transmitted to the body intended to be heated.

A direct heating process is present when the heat is developed in the very object to be heated. This can be achieved by different methods: resistive heating, obtained by Joule’s effect when the conducting object is carrying an electric current, arc heating, when the object to be heated plays the part of an electrode for an electric arc, inductive heating, obtained by Joule’s effect associated with the so called eddy currents induced in a conducting object by electromagnetic induction, dielectric heating, obtained by the irreversible energy transfer associated with the electric hysteresis or electric viscosity in an alternating electric field.

An indirect heating process is present when the object to be heated receives the heat transmitted from a heater where the heat is electromagnetically generated, usually as resistive or arc heating.

There are, in principle, some other modern heating methods, such as electron beam or laser beam heating, associated with modern technologic processes. The physical phenomena associated with such processes are beyond the scope of this book and are not treated here.

14.1.2.  Heat  transmission

There are three mechanisms of heat transmission: thermal conduction, thermal convection, and radiation.

1.  In the simplest one–dimensional case, the transmission of heat by thermal conduction  is described by  Fourier’s law  (the diffusion’s law),

dPq=dQtransdt=−λ dS dTdx     ,

where  dPq  is the transmitted heat power, that is the rate of heat transfer,  dT  is the temperature difference, along the direction of temperature decrease indicated by the normal unit vector  n , between the surface areas  dS  placed at a distance  dx (fig. 14.3), and    W/mdeg  is the  thermal conductivity  of the heat conducting medium.

Fig. 14.3. 				        Fig. 14.4.

A simple Ohm’s theorem for heat conduction can be readily obtained for a segment of a homogeneous medium, of thermal conductivity   , length  l  and cross section area  S , where the heat is transmitted between the terminal surfaces only, of temperatures  T1  and  T2 ,  (T1 > T2) , in the direction of temperature decrease (fig. 14.4). Indeed, going from elementary to finite dimensions and temperature differences, Fourier’s law is rewritten as

Pq=−λ ST1−T2l   ,

whence, by defining the thermal resistance as

RT=lλ S     ,

Ohm’s theorem for heat conduction is obtained as

T1−T2=RT Pq     .

The analogy between heat conduction and electric current conduction is then straightforward, as illustrated in the table below,

| Thermal conduction | ## T | Pq=dQtrans/dt | RT |  |
| --- | --- | --- | --- | --- |
| Electric conduction | ## V | ## I | ## R | σ=1/ρ |

By virtue of this analogy, equivalent thermal resistances can be defined, for instance. If the heat is transmitted by conduction, with no accumulation, across different successive strata of thermal resistances  R1 , … , Rk , … , Rn , then the total (equivalent) thermal resistance of such a series connection is

R=k=1n Rk   .

Similarly, if the heat is transmitted by conduction, with no accumulation, across adjacent strata of thermal resistances  R1 , … , Rk , … , Rn , between the same two walls of temperatures  T1  and  T2 , then the total (equivalent) thermal resistance of such a parallel connection is given by

1R=k=1n 1Rk   .

Fig. 14.5. 					 Fig. 14.6.

The above derived expression of the thermal resistance is valid for a plane wall of cross section area  S , thickness  t  and thermal conductivity   ,

RT=tλ S   ,

and can be extended for curved walls only if these are very thin   t≪S  . Useful formulae are derived for common cases. For instance, the thermal resistance of a cylindrical wall of length  l  and thermal conductivity   , between the inner cylinder of radius  a  and the outer cylinder of radius  b  (fig. 14.5) is

RT=lnb/a2πλ l   .

As well, the thermal resistance of the wall of a spherical cap of height  h  and thermal conductivity   , between the inner surface of radius  a  and the outer surface of radius  b  (fig. 14.6) is

RT=1/a−1/b2πλ ravh=b2−a24πλ h ab   .

2.  The transmission of heat by thermal convection consists in the heat transfer at a solid–fluid interface, where the fluid flow carries away heat along with substance. The natural convection is that convection where the fluid flow is determined by variation of fluid density associated with the temperature inhomogeneity; the forced convection is the convection facilitated by the fluid flow imposed by appropriate equipment (such as pumps or fans).

The heat power transmitted across an area  S  (fig. 14.7)  of the solid–fluid interface, in the normal direction, between the solid wall of temperature  T1  and the adjacent fluid of temperature  T2  (T1 > T2) , is

Fig. 14.7.

Pq=α S T1−T2     ,

where    W/m2deg  is the  convection coefficient  dependent on the wall shape (plane, cylindrical, spherical, etc.), the wall orientation (horizontal, vertical, inclined, above or under the fluid, etc.), surface ruggedness, the nature of fluid flow (laminary or turbulent), and temperature. Of course, the heat transfer is reversed if the fluid temperature is greater than the solid temperature.

3.  The transmission of heat by radiation is related to the fact that any system (body) of a nonzero temperature  (T > 0 K)  evacuates energy towards its surroundings as an electromagnetic radiation of any wavelength    (0,) . According to its wavelength, the radiation can be classified as  visible  in the interval   = (0.39 … 0.77) m , ultraviolet  in the interval   = (0.001 … 0.39) m , and  infrared  in the interval   = (0.77 … 400) m ; the rest of wavelengths fall outside the scope of heat transmission. Some important facts regarding the electromagnetic (often also called thermal) radiation are summarised below.

The radiated energy presents a certain spectral distribution, dependent on the system temperature: the energy density radiated in the wavelength interval  (  ,  + d )  is a function  w(,T)  of the radiation wavelength and the system (body) temperature, and is independent on the nature of the body, when the system (body) and the radiation are at thermodynamic equilibrium. The total energy radiated in a surrounding volume  V  is then given by

W=V w λ,T dλ   .

Let the thermal radiation be incident on the surface of a system (body) and let  J  be its power flux density, that is the power radiated over the unit surface normal to the radiation direction. The part  JR  of the incident power flux density is reflected, the part  JA  of the incident power flux density is accumulated (stored as internal energy), and the part  JT  of the incident power flux density is transmitted further (fig. 14.8); correspondingly,

the power balance is

J=JR+JA+JT   .

Let the reflection coefficient, the absorbtion coefficient, and the transmission coefficient be defined respectively as

R=JRJ      ,      A=JAJ      ,      T=JTJ   ;

then the above power balance results in the equation satisfied by the radiation coefficients

R+A+T=1   .

Fig. 14.8.

It must be noted, however, that the quantities entering the above equation are wavelength–dependent, implying that the radiation coefficients are also wavelength–dependent.

Some  ideal bodies  (systems)  can be defined, as associated to ideal values of the radiation coefficients: the  black body  is the perfectly absorbant body, characterised by the radiation coefficients

A=1      ,      R=T=0   ,

the  perfectly reflectant body  is characterised by the radiation coefficients

R=1      ,      A=T=0   ,

and the  perfectly transparent body  is characterised by the radiation coefficients

T=1      ,      R=A=0   .

There are actual cases which are very near the ideal ones: the soot or the black matt varnish presents an absorbtion coefficient  A≃0.94 , and polished metallic surfaces present a reflection coefficient  R≃0.94 . It is important to remember that the surface of different substances present different wavelength–dependent values of the radiation coefficients; in particular, the colour of an illuminated surface is determined by the wavelengths of the reflected visible radiation. Similarly, the colour of a radiation source is determined by the wavelengths of the emitted visible radiation.

Thermodynamic considerations result in Kirchhoff’s theorem: over any given spectral interval  (,+d) , the power flux density the radiated by a body is proportional to the power flux density the radiated by a black body at the same temperature, the proportionality coefficient being the absorbtion coefficient,

JE| λ , λ+dλ=Aλ JE B| λ , λ+dλ   .

The spectral energy density radiated by the black body within the spectral interval  (,+d)  is given by  Planck’s law  as

wBλ,T=2π h c2λ5 1exph cλ k T−1   ,

where  k=1.38⋅10 −23 J/deg  is Boltzman’s constant,  h=6.6256⋅10 −34 J⋅s  is Planck’s constant, and  c≃3⋅108 m/s  is the speed of light in free space. A graphical represen-tation of this function (fig. 14.9) shows that the spectral energy density increases, at any wavelength, as the temperature increases, and the wavelength where the maximum spectral energy density is radiated moves toward lower wavelengths as the temperature increases.

Fig. 14.9. 					   Fig. 14.10.

Wien’s law  describes the last feature mentioned above: the spectral energy density radiated by the black body reaches its maximum at a wavelength that is inversely proportional to the absolute temperature of the black body,

λM=AT      ,      A=2.8978⋅10 −9 m⋅deg   .

Stefan–Boltzman’s law  states that the power flux density radiated across the surface of the black body is given by

JE B=σ T4   ,

where   σ=5.71⋅10 −8 W/m2deg4   is the Stefan–Boltzman’s constant. This law shows that the radiated power increases quite rapidly with the temperature increase. As it is illustrated in fig. 14.10, for different values of the absorbtion – and, implicitly, radiation – coefficients  A  and different values of the convection coefficient corresponding to different values of the speed  v  of forced convection), the thermal power emitted by radiation is greater than the thermal power evacuated by convection for temperatures comparable with normal ambient temperatures, and their difference increases very rapidly as the temperature increases.

Finally,  Lambert’s theorem  states that the power flux density that is emitted from or absorbed by a surface under an angle    with respect to the normal direction is given by

Jθ=J cosθπ   .

14.1.3.  Transient  heat  accumulation

Let a definite part of a homogeneous object, of volume  V , surrounded by a closed surface   , be considered, and let this domain exchange energy with external systems by heat transfer only (that is, any mechanic work transfer is absent). Under these circumstances, the internal energy increase associated with a temperature increase  dT  equals the received heat and is simply expressed as

dU=dQ=M c dT=γ V c dT     ,

where  M  is the mass of the considered domain,    Kg/m3  is the mass density, and  c  J/Kgdeg  is the specific heat of the substance in the considered domain.

The transient heat accumulation – meaning the transient heating or cooling phenomenon – is described by the temperature variation associated with the internal energy variation resulting from the difference between the heat generated in the considered domain and the heat evacuated from it across its surrounding surface. For such a process, the rate of internal energy variation is obviously given by the first principle of thermodynamics as

dUdt=Pq generated−Pq evacuated     .

1. The heating of an object (system) is studied first.

Let first the case when the heat is evacuated from a system (object) by  convection  be considered. The (suposedly uniform) object temperature  T  is assumed to be the same as the external temperature  Te  up to the initial moment  t = 0 , when the heat begins to be generated inside it at a constant rate. Let  Pq generated  be denoted simply as  P ; the heat evacuated from the object by convection is  Pq evacuated=α S T−Te , where    is the convection coefficient,  S  is the area of the object surface,  T  is its surface temperature, and  Te  is the external (surrounding) temperature at the object surface. The energy balance equation now becomes

γ c VdTdt=P−α S T−Te   ,

or, by denoting   θ=T−Te ,

γ c V dθdt+α S θ=P      ,      θ0=0     .

The solution is determined as a sum of its free and forced components,  θ=θ0+θF . The free solution is the general solution, of the form  θ0=A e r t , of the homogeneous equation

γ c V dθ0dt+α S θ0=0   ;

simple substitutions result in

γ c V r A e r t+α S A e r t=0      ⇔      A e r tγ c V r+α S=0   ,

whence

r=− α Sγ c V=− 1τ      ⇔      τ=γ c Vα S

gives the  thermal time constant  of the heating process. The forced solution, of the form  θF=B , is a particular solution of the complete (inhomogeneous) equation

γ c V dθFdt+α S θF=P   ;

simple substitutions result in

γ c V r⋅0+α S B=P   ,

whence

B=Pα S   .

The complete solution is thus

θt=A e − t/τ+Pα S   .

Let the initial object temperature be equal to the external temperature,  T = Te , such that

θ0=0   ;

by imposing this initial condition to the solution above, it follows that

0=A+Pα S      ⇔      A=−Pα S   .

The time–dependence of the object temperature is finally obtained as

θ=Pα S1−e − t/τ   ,

whence

T=Te+Pα S1−e − t/τ      ,      τ=γ c Vα S     .

The object temperature increases exponentially from  Tin = Te  towards

Tfin=T=Te+Pα S   ,

so that, after a time interval

th≃3 τ=3 γ c Vα S   ,

the temperature practically reaches its final (limit) value (fig. 14.11).

Fig. 14.11.

In the case when the heat is evacuated from a system (object) by thermal  conduction, under the same initial conditions, let the simple case be considered when a homogeneous wall of total surface   S , thickness l , and thermal conductivity    surrounds the heated object. The heat evacuated from the system by conduction is now  Pq evacuated=λ Sl T−Te , so that the energy balance equation now becomes

γ c VdTdt=P−λ Sl T−Te   ,

or, by denoting   θ=T−Te ,

γ c V dθdt+λ Sl θ=P      ,      θ0=0     .

This equation is perfectly analogous to the corresponding equation in the case when the heat was transferred by convection, if    is substituted by   /l  . The solution is therefore immediate, as

T=Te+P lλ S1−e − t/τ      ,      τ=γ c V lλ S     .

The object temperature increases exponentially from  Tin = Te  towards

Tfin=T=Te+Plλ S   ,

so that, after a time interval

th≃3 τ=3 γ c V lλ S   ,

the temperature practically reaches its final (limit) value.

It may be noted that

RT=lλ S

is just the thermal resistance of the surrounding wall across which the thermal conduction takes place, and

C=γ c V=M c

is the thermal capacitance of the considered object. The temperature time–dependence is then (fig. 14.11)

T=Te+P RT 1−e − t/τ      ,      τ=RT C     ,

so that the final temperature

Tfin=T=Te+P RT

is reached approximately after a time interval

th≃3 τ=3 RT C   .

2.  Let now the cooling of a object (system) be studied.

The first case to be approached is again that when the heat is evacuated from a system (object) by  convection. The initial object temperature is assumed to be maintained at the value

Tin=Te+ΔT   ,

different from the external temperature  Te , up to the initial moment  t = 0 , when the heat generation inside it is terminated. The heat evacuated from the object by convection is again  Pq evacuated=α S T−Te , where    is the convection coefficient,  S  is the area of the object surface,  T  is its surface temperature, and  Te  is the external (surrounding) temperature at the body surface. The energy balance equation now becomes

γ c VdTdt=−α S T−Te   ,

or, by denoting   θ=T−Te ,

γ c V dθdt+α S θ=0      ,      θ0=ΔT     .

The solution is now represented by its free component only,  θ=θ0 , which is the general solution, of the form  θ0=A e r t , of the homogeneous equation

γ c V dθ0dt+α S θ0=0   .

Simple substitutions result in

γ c V r A e r t+α S A e r t=0      ⇔      A e r tγ c V r+α S=0   ,

whence

r=− α Sγ c V=− 1τ      ⇔      τ=γ c Vα S

gives the  thermal time constant  of the heating process. The complete solution,

θt=A e − t/τ   ,

is further determined by imposing the initial condition,

ΔT=θ0=A   .

The time–dependence of the object temperature is finally obtained as

θ=ΔT e − t/τ   ,

whence

T=Te+ΔT e − t/τ      ,      τ=γ c Vα S     .

The object temperature decreases exponentially from   Tin = Te + T   towards

Tfin=T=Te   ,

so that, after a time interval

tc≃3 τ=3 γ c Vα S   ,

the temperature practically reaches its final (limit) value (fig. 14.12).

Fig. 14.12.

In the case when the heat is evacuated from a system (object) by thermal  conduction, under the same initial conditions, let again the simple case be considered when a homogeneous wall of total surface  S , thickness  l , and thermal conductivity    surrounds the heated object. The heat evacuated from the object by conduction is now  Pq evacuated=λ Sl T−Te , so that the energy balance equation now becomes

γ c VdTdt=−λ Sl T−Te   ,

or, by denoting   θ=T−Te ,

γ c V dθdt+λ Sl θ=0      ,      θ0=ΔT     .

The same analogy with the preceding (heat transfer by convection) is noticed, if    is substituted by   /l  . The solution is therefore immediate, as

T=Te+ΔT e − t/τ      ,      τ=γ c V lλ S     .

The object temperature decreases exponentially from   Tin = Te + T   towards

Tfin=T=Te   ,

so that, after a time interval

tc≃3 τ=3 γ c V lλ S   ,

the temperature practically reaches its final (limit) value.

It may be noted again that, by introducing the thermal resistance of the surrounding wall across which the thermal conduction takes place,

RT=lλ S   ,

and the thermal capacitance of the considered object,

C=γ c V=M c   ,

the temperature time–dependence can be simply expressed as (fig. 14.12)

T=Te+ΔT e − t/τ      ,      τ=RT C     .

The final temperature

Tfin=T=Te

is again reached approximately after a time interval

tc≃3 τ=3 RT C   .

3.  Some typical heating processes are discussed below.

When an object (system) is heated at a constant rate of heat generation (fig. 14.13.a), the actual heating is practically terminated after a time interval  th , after which the heat generation is used to cover the heat loss and thus maintain the desired final temperature  Tf  for a desired duration  tM . As well, after the heat generation is terminated, the cooling to the external (surrounding) temperature  Te  is practically finished after a time interval  tc . The heating process is slow, and the constant temperature is maintained with an important heat consumption.

Fig. 14.13.

An object (system) can be maintained at a constant temperature by using an  intermittent rate  of heat generation (fig. 14.13.b). The prescribed rate of heat generation is first maintained for approximately a time interval  tH , after which the temperature  Tf + T  is reached. The heat generation is interrupted for a time interval  tc , during which the body is cooled to a temperature  Tf – T , and then again applied for another time interval  th , sufficient for the temperature to reach again the value Tf + T . This sequence is repeated, so that the temperature follows a periodic variation around the desired final temperature  Tf . The resulted energy savings represent an important advantage of this heating process.

A hastened rate of the heat generation (fig. 14.13.c)  can be used in order to reduce the energy consumption. A rather high initial rate of heat generation  PR , corresponding to a final temperature  TF  greater than the desired final temperature  Tf , is first applied for a time interval  tR  until the desired temperature is reached. Afterwards, the rate of heat generation is reduced to a lower constant value  PM , sufficient to cover the heat loss and thus maintain the desired constant temperature  Tf  for a desired duration  tM . This process is especially advantageous when a rapid heating is of main interest, with less regard to the energy consumption.

14.2.  Indirect heating

The  indirect heating  is the process where a system (object) receives the heat from an electric heater contained in the same enclosure. In order to improve the efficiency, the heat loss is reduced by surrounding the common enclosure by thermally insulating walls.

The equipment for indirect electric heating is thus a furnace where the heat comes from a current carrying conductor placed as close as possible to the object to be heated. The generated heat is just the dissipated electromagnetic energy associated with the electric conduction (Joule’s effect),

Qgen=R I2t=U2R t     .

Apart from the power and the temperature involved in the operation, other important parameters of such an electric furnace characterise its efficiency. The electric efficiency is the ratio of the developed heat versus the energy consumption,

ηel=QgenW   ;

it is influenced by the components of the electric circuit and the operating parameters. The thermal efficiency is the ratio of the heat received by the load (the object to be heated) versus the total developed heat,

ηth=QloadQgen   ;

it depends on the constructive and operating parameters of the furnace, the load and heater relative placement, the type of heat transmission.

14.2.1.  Resistive  indirect  heating

The  resistive indirect heating  is the indirect heating process where the heater is represented by resistors made of adequate conducting materials. The electrically generated heat is transferred to the heated object mainly by radiation and convection.

It is important to notice that the operating value of the heater resistance, which enters in the above formula, corresponds to its operating temperature. Since the resistivity of common substances used in manufacturing heaters is temperature–dependent according to a relation of the type

ρ=ρ01+a θ+b θ2+...

in terms of its value  0  at   = 0C , where    is the temperature (in degrees Celsius), it follows that the starting value of the heater resistance is significantly lower than its value at the operating temperature.

A maximum admissible temperature of the heater must be observed during operation, in order to preserve its chemical and physical characteristics by avoiding distructive chemical reactions with the surrounding atmosphere and operation too close to the melting temperature. This limiting condition corresponds to a maximum admissible power flux density, defined as the ratio of the developed heat  P  to the lateral surface  SL  of the (supposedly cylindrical) heater,

pS=PSL=ρ lπ r2I2/ 2π r l=ρ I22π2r3=ρ I22 π π3/2r3=ρ I22 π S3/2   ,

where  S = r2  is the cross section area of the heater conductor of resistivity    carrying the electric current  I . This condition imposes an  upper limit  to the current carried by the heater conductor,

Imax= 2 π S3/2ρpS

and to the rate of heat generation,

Pq max=R Imax2=ρ lS 2 π S3/2ρpS=2 π S3/2 l pS   .

14.2.2.  Indirect  heating  by  electric  arc

The  indirect heating by electric arc  is the indirect heating process where the heat is generated, again by Joule’s effect, in an electric arc developed in the enclosure containing also the object to be heated.

1.  The  electric arc  is an electric discharge – an electric current – developed in a plasma medium between two electrodes, under an appropriate applied voltage. The plasma is a state of the matter consisting in electrons and ionised atoms in thermal equilibrium – such a state is maintained by repetitive collisions of these particles at sufficiently large temperatures.

An electric arc is ignited between two electrodes (for instance, graphite electrodes) when an appropriate voltage is applied between them, sufficient to initiate the avalanche ionisation process of the molecules of a gaseous atmosphere surrounding the electrodes. The electrons, normally released by any solid substance by thermoelectronic emission, are accelerated in the applied electric field, from the emitting negative electrode (cathode) toward the positive electrode (anode). These electrons ionise by collision the atoms and molecules of the gas between the electrodes and release more electrons and so on. The process is then self–sustaining and consists essentially in an electric conduction carried along by the arc plasma, at temperatures varying from around  1000C  in the central region to about  500C  toward the arc borders. Finally, the accelerated electrons collide strongly with the anode, which, reaching high temperatures, is quickly worn out. Such an asymmetric behaviour of the electrodes can be avoided if the electric arc is sustained by an alternating voltage.

The heat is transmitted from the electric arc to the object to be heated – commonly a charge of molten metal – mainly by radiation. Moreover, the tank containing the charge is usually rotated in order to ensure a uniform heating.

From an electrical standpoint, the electric arc is a nonlinear resistance, characterised by a generally decreasing  U(I)  relationship (fig. 14.14),

U=a+b l+c+d lI   ,

dependent on the arc length  l . The coefficients  a , b , c , d  depend on the gas composition, pressure and circulation, electrode composition, shape and dimensions and on the conditions of heat transmission.

Fig. 14.14. 					  Fig. 14.15.

Such a voltage–current characteristic is unstable. Indeed, considering a practically resistive arc circuit, let the electric arc be maintained by a nonideal voltage source of given e.m.f  E  and internal impedance  z , so that the simplified operating equation is

E−z I=UI      ⇔      I=E−UIz   .

Let now some perturbation determine an increase  I  of the arc current  I ; then the arc voltage  U(I+I)  decreases with respect to the voltage  U(I) . Consequently, the available current is

I'=E−UI+ΔIz>E−UIz   ,

meaning a further increase of the current. Such a behaviour can be compensated by an adequate regulating equipment, which would adjust correspondingly the arc length  l  (that is, the distance between the electrodes), provided that the current variations are not too rapid. In turn, the current variation is slowed down in the presence of an inductance, which also contributes to maintaining the arc voltage under alternating current conditions even when the source voltage crosses zero values. That is why, in the circuit of an electric arc, a so called reactance coil (a coil with a large inductance) is sometimes series connected with the usual step–down transformer (which reduces the voltage and increases the current).

2.  The equivalent circuit of an equipment for indirect heating by electric arc (fig. 14.15) consists in the series connection of the resistances and inductive reactances of the connecting line (L) , the transformer and reactance coil (T) , the connecting conductors (C) , and the electric arc itself (A) , as in fig. 14.16. The equivalent impedance of the circuit is

Z=RL+RT+RC+RA+j XL+XT+XC+XA=R+RA+j X+XA  ,

where the arc equivalent resistance,

RA=RAI   ,

is current–dependent. The effective current contributing to the heat generation is then given by

I=UR+RA2+X+XA2   .

Care must be taken, however, of the fact that the equipment has to withstand the short–circuit current that is present at the moment of the arc ignition or, accidentally, when the electrodes touch one another. The short–circuit current corresponds to  UA = 0  or, in the equivalent circuit, to  RA = 0 , XA = 0 , so that

IS=UR2+X2≃UX   .

The electric power consumption of the electric arc is (neglecting phase differences)

PA=UA I=UI I=a+b l I+c+dl=b I+d l+a I+c   .

It follows that at constant arc length,  l = const., the power consumption increases linearly with the increasing current, and under constant current conditions,  I = const., the power consumption increases linearly with the arc length. The second expression of the electric power includes a first term,  (bI + d)l , corresponding to the voltage drop across the column of positive ions in the arc plasma and a second term,  (aI + c) , corresponding to the voltage drops at the electrode surfaces.

Fig. 14.16. 				         Fig. 14.17.

Actually, under alternating current conditions, the inductances present in the equivalent circuit impose a phase difference    between the arc voltage and the arc current, so that the active (actual) power consumption is

P=UA I cosϕ<PA    ,

corresponding to a power factor   cos  < 1  , and there is also a reactive power consumption

Q=UA I sinϕ>0   .

The typical variations of the total active power  Ptot , the arc active power  P  (transformed into heat), the reactive power  Q , and the power factor  cos , as functions of the current  I  (fig. 14.17) show that there exists an optimum value of the current,  Iopt , around which the equipment must operate, and a maximum admissible value of the current  Iadm , above which the power factor is inadmissible low.

14.3.  Direct heating

The  direct heating  is the process where the heat is electromagnetically generated within the very object to be heated. In order to improve the efficiency, the heating process takes place in enclosures that are especially electromagnetically and thermally insulated.

14.3.1.  Resistive  direct  heating

1.  The resisitive direct heating is the direct heating process where the heat is generated, in a conducting object carrying an electric conduction current, from the dissipated electromagnetic energy associated with the electric conduction (Joule’s effect),

Q=U I t=R I2t=U2R t     .

The heat transfer process to be accounted for in this case regards the temperature distribution within the heated object, associated with the heat loss across its boundary.

If the conducting material is not intended to be melted, then care must be taken so that the nonuniform temperature distribution remains under the melting temperature, everywhere within the heated conductor. Supposing that direct or low frequency alternating current is carried by the conductor, the current is uniformly distributed over the cross section of the conductor. Consequently, the heat is generated uniformly in the conductor carrying a current of intensity  I , at a rate given by

P=ρ lπ a2 I2   ,

in the case of a cylindrical conductor of length  l , radius  a  and resistivity   , and

P=ρ l2a b I2   ,

in the case of a conductor of length  l , resistivity   , and rectangular cross section of dimensions  2a  and  b . The generated heat is used first to increase locally the internal energy and, consequently, the conductor temperature, and then it is transmitted to regions of lower temperature or is lost to the surrounding medium, across the conductor surface.

2.  The analysis of the process of heat generation and transmission results in the steady–state  temperature distribution  (that is, after a sufficiently long time interval, so that the temperature reaches a time–invariant final value). Convection conditions, of convection coefficient   ,  are normally considered at the conductor lateral surface, where the surrounding temperature is  Te .   The results are the following:  (1)  the temperature–versus–radius distribution over the cross section of a cylindrical conductor of radius  a  (fig. 14.18.a)  is

Tr=Te+p a2 α+p a24 λ 1−ra2   ;

(2)  the temperature distribution versus the distance from the axial plane, over the rectangular cross section of thickness  2a  and width  b  (where  2 a≪b, as in fig. 14.18.b)  is

Tx=Te+p aα+p a22 λ 1−xa2   .

In the above relations the power density associated with Joule’s effect was used,

p=PV=ρ lSI2/l S=ρ IS2=ρ J2   .

Fig. 14.18.

Such a quadratic space distribution of the temperature indicates that its maximum value is reached on the conductor axis; consequently, the operating condition of the resistive direct heating process is

Tmax=T0≤K Tmelt   ,

where  K < 1  is a safety factor and the maximum temperature is

Tmax= Te+p a2 α+p a24 λ      for  cylindrical  cross  sectionTe+p aα+p a22 λ      for  rectangular  cross  section   .

3.  It is now possible to give details on the  power flux density, used as a limiting factor in the  operation of a  resistive  indirect  heating  process. Let the  perimeter and the

area of the cross section be introduced, respectively as

L=2π a    ,    S=π a2      for cylindrical cross section   ,

L=2 2a+b    ,    S=2 ab      for rectangular cross section   .

The power flux density is then

pS=PSlat=ρ lSI2/L l=ρ I2S L=ρ IS2SL=ρ J2SL=p SL   ,

that is

pS= p a2                for  cylindrical  cross  sectionp a1+2a/b      for  rectangular  cross  section   .

In the above relations regarding the power flux density, the value of the power (volume) density  p  must be taken as  pmax , corresponding to the maximum admissible temperature in the current carrying conductor. These considerations result in the following relations:

Te+p a2 α+p a24 λ≤KTmelt   ,

whence

p=KTmelt−Tea2 α+a24 λ      ⇔      pS=KTmelt−Te1α+a2 λ

for a cylindrical cross section, and

Te+p aα+p a22 λ≤KTmelt   ,

whence

p=KTmelt−Teaα+a22 λ      ⇔      pS≃KTmelt−Te1α+a2 λ

for a rectangular cross section, where the approximation

pS=KTmelt−Te1α+a2 λ11+2a/b≃KTmelt−Te1α+a2 λ      for   2a≪b

was considered.

4.  The resistive direct heating implies that an electric current is injected into the object to be heated. The current injection is applied across special  contacts  between the object to be heated and the current source terminals. Such a conductive configuration implies the presence of contact resistances at the object–contact and contact–terminal interfaces, and supplementary power dissipation in these contacts. The heat dissipated (and lost) in a contact is

QC=RCI2t=ρClCSCI2t    ~    1SC   ,

that is inversely proportional to the contact surface (fig. 14.19.a). Such losses are reduced if a number of parallel–placed contacts carry the current from the current source terminals and the object to be heated (fig. 14.19.b). It is readily seen that, when  n  such parallel placed contacts are used,

QC ; n=n RCIn2t=1nρClCSCI2t=1nQC

a corresponding reduction results in the heat loss due to the reduction of the current carried by each individual contact.

Fig. 14.19.

Fig. 14.20.

An example of such a multi–contact connection to the current source is illustrated in fig. 14.20, where the object to be heated is represented by an advancing beam of square cross section and the revolving contacts are pressed on the lateral faces of the beam.

14.3.2.  Direct  heating  by  electric  arc

1.  The  direct heating by electric arc  is the direct heating process where the heat is generated, by Joule’s effect, associated to the presence of an electric current injected in the object to be heated through an electric arc developed between this (conducting) object and some appropriate electrode(s). As it was the case with the indirect heating by electric arc, alternating currents are commonly used for heating, in order to avoid unbalanced erosion phenomena associated with the electric arc. As well, the object to be heated is usually a charge of molten metal contained in a thermally insulated tank. The bottom of the tank is made of a graphite layer, and is connected to one of the source terminals; the other source terminal is connected to the electrode, usually made also of graphite.

The equivalent electric circuit of the equipment for direct heating by electric arc is quite similar to that analysed in the case of the indirect heating by electric arc (fig. 14.21). The complex impedances related to the source, connecting line, transformer and connecting conductors are assembled into a single external complex impedance  ZE=RE+j XE ; as well, the arc complex impedance and the charge equivalent complex impedance are assembled into the load complex impedance,  ZL=RL+j XL= =RA+RC+j XA+XC . These impedances are obviously series connected, so that the current across the load is given by the equation

U=Z I=ZE+ZL I=RE+RL+j XE+XL I=R+j X I      ⇔

⇔      I=UR2+X2=URE+RL2+XE+XL2   .

The heat generated by Joule’s effect depends on the current carried across the electric arc and the object to be heated,

Q=ULI t=RLI2t=UL2RLt   ;

therefore, the heating equipment is designed to operate as efficiently as possible, meaning the larger generated heat under minimum energy losses. As discussed above, the electrode(s) that support the electric arc are worn out during the operation of the heating equipment, the arc length increases, and the arc equivalent resistance RA  also increases. Correspondingly, the load resistance  RL  also increases, along with the total complex impedance, and the arc current decreases, according to current equation above. The influence of these phenomena on the generated heat is briefly analysed in the following.

. .

Fig. 14.21. 					 Fig. 14.22.

2.  Let it be assumed that the equivalent resistances  RE  of the external circuit and  RC  of the charge are negligible, and that the total reactance is approximately constant,

RE , RC≃0      ,      XE+XL=X≃const.

These assumptions are consistent with the fact that the additional equipment is so designed as to minimise the dissipation losses; the charge presents a large cross section area, and the total reactance is determined by the total circuit inductance, related in turn to the magnetic field distribution, which is almost independent on the presence of the electric arc. An important current value in the equipment operation is the (ideal) short–circuit current, associated to a zero value of the complex arc impedance,

IS=URE+RA+RC+j XE+XA+XC | RA=XA=0 , RE+RC≪XE+XC≃

Uj XE+XC≃Uj X   ;

this value is present under arc ignition conditions or under breakdown conditions, when the electrode is in direct contact with the charge to be heated. Let the voltage be taken with zero initial phase, so that  U=U ; under the above considered assumptions the complex current

I=URA+j X=U RA−j XRA2+X2=U RARA2+X2−j U XRA2+X2

has the real and imaginary components respectively given by

IRRA=Re  I =U RARA2+X2      ,      IXRA=Im  I =− U XRA2+X2   .

A comprehensive view on the heating equipment operation is obtained by studying the current–versus–arc resistance dependence in terms of the real and imaginary components of the current. Elimination of the arc resistance  RA  between the equations of the current components,

IR=U RARA2+X2IX=− U XRA2+X2      ⇔       IR2 RA2+X22=U2 RA2RA2=− U XIX−X2                  ⇔

⇔      IR2 − U XIX−X2+X22=U2 − U XIX−X2      ⇔

⇔      IR2 U2X2IX2=U2X − UIX−X      ⇔      IR2=IX2X− UIX−X      ⇔

⇔      IR2=− UXIX−IX2      ⇔      IR2+IX2+UXIX=0   ,

results in

IR2+IX+U2 X2=U2 X2   ,

which is the equation of a circle (in the complex plane), of radius  r=U2 X  and centered at the (complex) point  C=0−jU2 X  (fig. 14.22, where the reference real axis is rotated counter–clockwise by a  /2  angle).

It thus follows that, under constant source voltage conditions  U = const.  and constant total reactance conditions  X = const., when the arc resistance  RA  changes , the point of the current phasor  I  describes the semicircle of phase  ϕ ∈0,π/2  of the circle defined above, between the limit points  O=0+j 0 , corresponding to open–circuit conditions  (R =  , I = 0)  and  S=0−j UX , corresponding to short–circuit conditions  (R = 0 , I=IS) . The active power – that is, the average power transformed into heat –

P=U I cosϕ   ,

reaches its maximum value (under constant voltage conditions) for a maximum value of the active component  (I cos)max , which corresponds to the point  M=UX−j UX , that is for a phase difference  M = /4  between the current and the voltage and to a power factor  cosM = 0.707 . One may conclude that the operation of the heating equipment must be maintained at an operating current of phasor  I  with the point placed on the arc  OM  in the above diagram, corresponding to    /4  and to  cos  0.707 .

An important characteristic in the operation of an equipment for direct heating by electric arc is the short–circuit ratio, defined as the ratio of the short–circuit current to the (rated) operating current,

K=ISIR   ,

in which case the (rated) power factor is

cosϕR=1−1/K2   .

Usual values of these quantities are  K = 1.8  …  2.5  and  cos = 0.85  …  0.92 .

3.  The direct heating by electric arc implies large power consumption; therefore three–phase alternating currents are used, meaning that three electric arcs are sustained between three electrodes and the charge of null electric potential. A balanced three–phase load is achieved if the electrodes are symmetrically placed at an 120 angle on the periphery of a circle and separate transformers are used for each phase (fig. 14.23).

.

Fig. 14.23. 				Fig. 14.24.

The heating uniformity is improved if a convection process is imposed in the melted charge under the action of electromagnetic forces (fig. 14.24). A coil is placed around the bottom of the tank, carrying a very low frequency alternating current  I(t) . The time varying magnetic field of approximately vertical flux density  B(t)  induces an electric field of circular field lines which, in turn, determines induced currents  i(t)  of circular paths. The conducting metal carrying the induced currents in the inductor magnetic field is the subjected to electromagnetic forces  dF=i dr×B which push the melted charge toward the tank axis and imposes an ensuing convection within the charge.

A steady–state heating process is achieved when a constant electric power consumption is maintained. Such conditions are ensured by an appropriate automatic control of the electric arc length (via the electrode position) and, eventually, the source voltage: if the arc voltage  UA  decreases with respect to the rated value  UR , then the electrode–charge distance is increased; if the current  I  decreases with respect to the rated value  IR , then the electrode–charge distance is decreased.

14.3.3.  Direct  induction  heating

1.  The  direct induction heating  is the direct heating process where the heat is generated, by Joule’s effect, associated with the presence of electric currents induced by an external time–varying (usually alternating) magnetic field.

The process develops as follows: the conducting object to be heated is placed in an alternating time–varying inductor magnetic field, generated by appropriate coils carrying the inductor currents. The time variation of the inductor magnetic field induces into the conducting object an induced electric field of closed field lines and this, in turn, determines an induced current along the same closed paths. The Joule’s effect associated with the induced currents – also named eddy currents – is then responsible with the heat generation in the body to be heated.

The induced eddy currents generate an associated induced magnetic field which is added to the inductor magnetic field, so that, finally, it is the total time–varying magnetic field which is to be considered as the cause of the induction phenomenon. The analysis of such a processes leads to the conclusion that the distribution of the electromagnetic field quantities – the magnetic field, the electric field and the electric conduction current – are non–uniformly distributed within the conducting object subjected to the electromagnetic induction process. Specifically, these quantities are more intense toward the object surface and decrease with the distance from the surface – this is the  skin effect.

2.  The simplest case where the eddy currents and the skin effect can be easily analysed is the  penetration of the harmonic time–varying electromagnetic field into a conducting half–space, as studied in Section 10.2.

Fig. 14.25.

It is reminded that if a conducting half–space  x > 0  is considered (fig. 14.25), of conductivity    and permeability   , and a harmonic time–varying magnetic field, of magnetic field strength

H0= z H02 sinωt   ,

is applied parallel to the  z  axis, then the processes briefly described above determine an electromagnetic field which penetrates the conducting half–space. The field quantities inside the conductor are time– and coordinate–dependent, according with equations

H=z Hx,t=z H0 2 e− α x sin ω t−α x      ,    x>0   ,

B=z Bx,t=μ H=z μ H0 2 e− α x sin ω t−α x      ,    x>0   ,

E=y Ex,t=y E0 2 e− α x sin ω t−α x−π/4      ,    x>0   ,

J=y Jx,t=σ E=y J0 2 e− α x sin ω t−α x−π/4      ,    x>0   ,

where the effective values of the induced electric field and current density at the interface are

E0=ωμ2σ H0      ,      J0=σ E0=ωμσ2 H0   ,

and the attenuation (and phase) constant is

α= ωμσ2   .

The effective values of the electromagnetic field quantities decrease exponentially with the distance  x  from the half–space surface as, for instance in the case of the electric current density (fig. 14.26.a),

Jx=J0 e − x/δ=J0 e − x/δ   ,

where

δ=2ωμσ

is the skin depth or penetration depth, which corresponds to the distance after which the electric field strength decreases  e  times, from a value  J  to a value  J/e (it is reminded that  e≃2.71828...  is the basis of natural logarithms). The same dependence of the effective value on position is shown by the other field vectors – the electric field strength E , the (total) magnetic flux density  B , and the (total) magnetic field strength  H ,

Ex=E0 e − x/δ=E0 e − x/δ   ,

Hx=H0 e − x/δ=H0 e − x/δ   ,

Bx=B0 e − x/δ=B0 e − x/δ   .

Fig. 14.26.

This nonuniform distribution of the harmonic time–varying electromagnetic field, with a steep decrease from the magnitude on the conductor surface towards its interior, constitutes the skin effect. As an illustration, at the usual main frequency  f = 50 Hz, the penetration depth is  Cu  9.5 mm  in copper  and  Fe  1.8 mm in common iron.

3.  Taking into account the rapidly decreasing non–uniform distribution of eddy currents in the conducting half–space, the dissipated power associated with their presence is also non–uniformly distributed, with a volume density

p=σ E2=σ E02 e − 2x/δ=p0 e − 2x/δ   .

This means that the volume density of the generated heat decreases twice as rapidly as the electromagnetic field, and becomes negligible for  x > 3  (fig. 14.26.b).

Such a very rapidly decreasing distribution of the dissipated power density can be treated in a simplified manner. An equivalent distribution of the current density is considered, with a constant value over a certain depth from the conductor interface and with zero value in the rest of the conductor, so that the same power is dissipated as for the actual current density distribution. The computation gives the equivalent effective current density distribution as (fig. 14.27)

Fig. 14.27.

Jeq.= J0         ,      x<δ0           ,      x>δ   ,

where the constant value of the effective current density is distributed up to the penetration depth

δ=2ωμσ=1α

and is zero at any larger distance from the conductor surface.

Fig. 14.28.

4. The skin effect, consisting in the concentration of the time–varying electro-magnetic field and the induced eddy currents towards the conductor periphery is present whenever an external time–varying electromagnetic field is applied on a conductor or when a time–varying electric current is carried by a conductor. A strong skin effect is present when a very important nonuniformity in the electromagnetic field distribution (in particular, the current density) occurs across the direction normal to the conductor surface – this corresponds to the case when   δ≪r , where  r  is the transverse dimension of the conductor (fig. 14.28 left). A negligible skin effect is present when the electromagnetic field distribution is practically uniform over the transverse direction of the conductor – this corresponds to the opposite inequality   δ≫r  (fig. 14.28 right). Finally, a weak skin effect is present in a conductor when the penetration depth is comparable with the transverse dimensions of the conductor,     r  (fig. 14.28 middle).

Due to its exponential variation, the nonuniform current distribution in a conductor placed in a time–varying electromagnetic field results in an even more nonuniform distribution of the heat generated by Joule’s effect: it is practically generated into a surface layer up to a depth    starting from the surface. However, even such a strong nonuniformity of the heat generation and its associated temperature is attenuated in time, due to the heat conduction toward the interior of the conductor and the heat losses at the conductor surface (fig. 14.29).

Fig. 14.29. 				 Fig. 14.30.

5.  The uniform direct induction heating represents the heating of a conductor placed in an external time–varying magnetic field, under the condition that the skin depth of the electromagnetic field generated in the conductor is large compared to the transverse dimensions of the conductor.

The inductor time–varying magnetic field is generated by a coil wound around the conductor to be heated and carrying a time–varying – usually harmonic – electric current.

Let the  N  turns of a solenoidal coil of length  h  and radius  a  carry a harmonic time–varying inductor current

it=I2 sinωt   ,

and let a coaxial cylindrical conducting core of radius  a , permeability   , and conductivity   , be placed inside the coil (fig. 14.30). These data are supposed to satisfy the condition of a weak skin effect,

δ~a      ⇔      2ωμσ~a   .

It is obvious that the axial magnetic field generated by the electric current – as in a solenoid – induces an electric field with circular lines in transversal planes inside the coil. With respect to the indicted reference directions, Faraday’s law invoked for such a circular electric field line    of radius  r  results successively in

eΓ=−ddtΦSΓ      ⇔      eΓ=−ddt−Bπr2      ⇔      eΓ=πr2dBdt   .

The inductor magnetic flux density of the solenoidal coil is

B=μH=μh=μNhI2 sinωt   ,

so that

eΓ=πr2μNhI2 ω cosωt   .

On the other hand, the induced  e.m.f  along the circular field line is

eΓ=E⋅dr=E dr cos 0=E dr=2πr E   ,

and the electric field strength is given by

2πr E=πr2μNhI2 ω cosωt      ⇔      E=ωμ Nr2hI2 cosωt   .

The induced electric field determines an induced current with circular closed lines and density

J=σ E      ⇒      J=σ E=ωμσ Nr2hI2 cosωt   ,

and it is obvious that, even under such negligible skin effect conditions, the induced electric field and current density are decreasing from the conductor surface toward its interior.

The dissipated power density – that is, the density of the rate of heat generation – correspondingly is

p=E⋅J=E⋅σE=σ E2=σ2 ωμ NrhI2 cos2ωt   ,

and, by using the volume element  dV=2πrh dr  associated to the field symmetry, the rate of the heat generation, obtained by integrating the last expression over the conducting domain, is

P=p dV=σ2 ωμ NhI2 cos2ωt r2 2πrh dr=πσh

=πσh    .

The (time–) average of the rate of heat generation is readily obtained since

1Tcos2ωt dt=12T1+cos 2ωt dt=12T t| 0 T+14ωT sin 2ωt| 0 T=

=12TT+18πsin 4π−sin 0=12   .

The average rate of heat generation is thus

Pav=πσ    ,

with the density of the average rate of heat generation given by

pav=PavV=Pavπ a2h=σ8 ωμ NIah2   .

6.  The  equivalent circuit  of the (non–ideal) coil with the conducting solid core includes supplementary elements, corresponding to the power transferred to the inner conductor and dissipated as heat. The coil inductance is that of a solenoid,

L=μ N2π a2h   ,

but the equivalent coil resistance includes, besides the winding resistance  r , the resistance  Rloss  corresponding to the power dissipated into the core,

R=r+PavI2=r+πσ ωμ N2a48h=r+Rloss   .

The phasor diagram of the inductor coil is that presented in fig. 14.31, where the phase difference of the current, lagging after the voltage, depends on the load constituted by the conducting solid core where eddy currents are induced; it varies between the extreme values

ϕmin=arctanωLr+Rloss      ,      ϕmax=arctanωLr   .

Fig. 14.31. 			           Fig. 14.32.

Correspondingly, the power factor of the inductor coil varies from the minimum value

cosϕmin=11+ωL/r2   ,

when the load (conducting core) is not present, to the maximum value (currently around  0.8)

cosϕmax=11+ωL/r+Rloss2   ,

in the presence of the load. The effective power factor can be improved if capacitors are parallel connected to the inductor coil in order to compensate the reactive power associated with the coil inductance.

Finally, the electric efficiency, defined as the ratio of the (average) power dissipated into the load and the total active power received by the coil, is

ηel=PavP=RlossI2r+Rloss I2=1−rRloss=1−8h rπσ ωμ N2a4   ,

and reaches values as high as  95% .

7.  The eddy currents induced inside the conducting solid core are placed in the inductor magnetic field and the conductor is therefore subjected to electromagnetic (Laplace) forces

dF=di dr×B   .

As the fig. 14.32  suggests, the electromagnetic forces are constriction forces, tending to press the conducting solid core from the periphery towards the axis. If the load is represented by a recipient containing a melted metal, then such constriction forces impose fluid currents to flow from the periphery towards the axis, then upward in the central region – determining a bump at the surface – and downward at the periphery. Such convection currents associated with the electromagnetic forces are beneficial – they result in a temperature and composition uniformisation of the melted metal.

8.  The surface direct induction heating represents the heating of a conductor placed in an external time–varying magnetic field, under the condition that the skin depth of the electromagnetic field generated in the conductor is small compared to the transverse dimensions of the conductor.

The inductor time–varying magnetic field is generated by a coil wound around the conductor to be heated and carrying a harmonic time–varying electric current of high frequency. Let again a solenoidal coil of  N  turns, length  h , and radius  a  be considered, which carries a harmonic time–varying inductor current

it=I2 sinωt   ,

and let a coaxial cylindrical conducting core of radius  a , permeability   , and conductivity   , be placed inside the coil (fig. 14.33). It is obvious that the axial magnetic field generated by the electric current – as in a solenoid – is tangential to the surface of the conducting solid core and, if the skin depth of the electromagnetic field inside it is very small with respect the core radius,

δ≪a      ⇔      2ωμσ≪a   ,

then the conducting solid core can be treated locally as a half–space. The induced electric field and eddy currents again follow circular lines in transversal planes inside the coil, but under these conditions of strong skin effect, they are practically concentrated into a layer of thickness   .

The effective value of the outer magnetic field strength at the core surface is

H0=h   ,

and, according with the preceding analysis, the effective value of the induced electric field strength at the core surface is

E0=H0σδ=ωμ2σ H0   .

Under the condition of a strong skin effect, the surface effective value of the electric field strength, along with the corresponding effective value of the induced current density,

J0=σ E0=σ ωμ2σ H0=ωμσ2 H0   ,

are practically constant over a skin depth   , and are equal to zero after this distance to the core surface.

Fig. 14.33. 			       Fig. 14.34.

The power density dissipated into heat inside the conducting core is thus

p=E⋅J=E02 cosωt J02 cosωt=ωμ2σ ωμσ2 2H02cos2ωt=

=ωμ h2 cos2ωt   .

The corresponding (time–) average density of the rate of heat generation is readily obtained as

pav=ωμ2 h2    ,

where the time–average value

1Tcos2ωt dt=12

was considered. Finally, the (time–) average rate of heat generation is obtained by integrating the above average density over the volume  V  where the eddy currents are concentrated,

Pav=pav Vδ=ωμ2 h2 2πaδ h=πωμ N2I2ah2ωμσ=

=πN2I2ah2ωμσ   .

This value corresponds to an average transmitted surface power density

pS av=PavSlat=Pav2πa h=h2ωμ2σ   .

9.  The  equivalent circuit  of the coil with the conducting solid core is derived under the condition of the strong skin effect. The coil inductance is similar to that of a solenoid, but one must take into consideration that the magnetic field is as well restricted to a practically constant field strength – equal to its surface value – up to a skin depth inside the core. This corresponds to an effective cross section area

Seff=2π aδ   ,

and to an inductance

L=μ N22π aδh=2πμ N2ah2ωμσ=2πN2ah2μωσ   .

Similar to the case of uniform induction heating, the equivalent coil resistance includes, besides the winding resistance  r  at the operating (angular) frequency   , the resistance  Rloss  corresponding to the power dissipated into the core,

R=r+PavI2=r+πN2ah2ωμσ=r+Rloss   .

The phasor diagram of the inductor coil is again that presented in fig. 14.31, where the phase difference of the current, lagging after the voltage, depends on the load constituted by the conducting solid core where eddy currents are induced; it varies between the extreme values

ϕmin=arctanωLr+Rloss      ,      ϕmax=arctanωLr   .

Correspondingly, the power factor of the inductor coil varies from the minimum value

cosϕmin=11+ωL/r2   ,

when the load (conducting core) is not present, to the maximum value (currently around  0.8)

cosϕmax=11+ωL/r+Rloss2   ,

in the presence of the load.

The harmonic time–varying currents of high frequency (around 10 KHz) are generated by revolving electric generators or even electronic generators. An intermediary transformer is used, which reduces the voltage but increases the current injected into the inductor coil (fig. 14.34). An appropriate capacitor is parallel connected to the inductor coil in order to constitute a resonant circuit at the operating frequency, so that the transformer load is purely resistive.

Finally, the electric efficiency, defined as the ratio of the (average) power dissipated into the load and the total active power received by the coil, is

ηel=PavP=RlossI2r+Rloss I2=1−rRloss=1−8h rπσ ωμ N2a4   .

Fig. 14.35.

10.  The  structure  of the induction heating equipment depends on the shape of the conductors to be heated and generally operate at an inductor efficiency around  70 – 85 % . Some constructive solutions are presented in fig. 14.35 : external inductor (a), internal inductor (b), upper inductor (c), lateral inductor (d).

The electric efficiency can be improved if the aspect ratios of the heating equipment are close to

Coil radiusLoad radius≈1      ,      Coil heightLoad height≤1   ,

and a good conductor (usually – copper) is used for the coil winding. As well, the electric efficiency is higher for loads with greater permeability    and resisitivity   . It is worth mentioning that the high relative permeability of ferromagnetic substances drops to an approximately unitary value when the substance turns paramagnetic, at temperatures above the so called Curie temperature.

The surface heating is restrained near the surface for small time intervals only after the current is applied; as duration of heating increases, the heat is transmitted towards the interior of the conducting core and the  temperature distribution  tends to go from a strongly nonuniform toward a uniform distribution, as illustrated already in fig. 14.29.

14.3.4.  Direct  dielectric  heating

1.  The  direct dielectric heating  is the direct heating process where the generated heat comes from the power loss associated with the successive equivalent hysteresis loops travelled along in a time–varying (usually harmonic) electric field.

Fig. 14.36.

As discussed previously, in the first section of this chapter, the so called electric viscosity of the substance is present in high–frequency alternating electric fields . The electric viscosity consists in the fact that a sudden change in the applied electric field strength  E  induces a corresponding change in the (electric) polarisation (and, therefore, in the electric displacement  D ), but only after a certain delay. It means that the maximum electric displacement is reached after some delay from the moment of the maximum electric field strength. In an alternating electric field, this phenomenon can be described by a  hysteresis–like  diagram  D(E)  like the one presented in fig. 14.36.a, and result in an irreversible transfer of electromagnetic energy into heat, developed in the electrically viscous substance just like for hysteretic substances. When the electric field vectors have a harmonic time variation, the electric viscosity is translated into a phase difference of the electric displacement after the electric field strength. In turn, this can be described by a so called complex permittivity

ε=ε'−jε= lline  {underline  {ε}}  rline `e rSup { size 8{` - `j`δ} } } {   .

2.  Essentially, the equipment for direct dielectric heating consists in a parallel–plate capacitor, of plate area  S  and distance  d  between plates, where the insulator is represented by the load – the object to be heated (fig. 14.36.b). If a voltage  u  is applied between the capacitor plates and corresponding charges  q  are developed on the capacitor plates, then according with the argument presented in the derivation of the capacitance of such a capacitor (section 6.1), the following relations are valid

u=E d      ,      q=ε E S=D S   .

The  D(E)  hysteresis (fig. 14.36.a) thus turns into a similar  q(u)  hysteresis (fig. 14.36.c).

Supposing that a periodic alternative electric voltage of frequency  f  is applied to the capacitor, so that a periodic alternative electric field is applied to the load of volume  V = Sd , the heat developed in the load during a time interval    is, according with Warburg’s theorem,

Q=τ fA DE cycle V   .

Taking into account that the field–related quantities are linked to the circuit–related quantities so that

q u=D S⋅E d=D E⋅S d=D E⋅V   ,

it follows that the heat developed in the load during a time interval    can be equivalently computed as

Q=τ fA qu cycle   .

A loss resistance corresponds to the electric power transferred into heat, according to the energy balance equation valid for a period,

U2r hystT=T fA qu cycle      ⇔      r hyst=U2fA qu cycle   .

The  equivalent circuit  of the equipment for direct dielectric heating is that of a nonideal capacitor: the capacitance

C=ε Sd

is parallel connected to a loss resistance  R  (fig. 14.37.a). The latter corresponds to the losses associated with the hysteresis–like behaviour of the electrically viscous substance and to the current carried by the nonideal insulator, of non–zero conductivity  ,

rleakage=dσ S   ,

so that

1R=1rhyst+1rleakage   .

Under harmonic time–varying conditions, and using complex representatives of the quantities involved, the complex operating equation is

I=Y U      ⇔      I=1R+jωC U   ,

Fig. 14.37.

and the phasor diagram of the equivalent circuit is that presented in fig. 14.37.b. The current–to–voltage phase difference is expressed as

ϕ=π2−δ   ,

where    is the (total) loss angle of the capacitor, and the component currents are expressed as

IC=UXC=ω C U=2πfC U      ,      IR=UR=ICtanδ=2πfC U tanδ   .

The active power developed into the load and transformed into heat there, corresponding to the resistive current, is

P=U IR=2πfC U2tanδ   ,

which means that the equivalent resistance to be considered in the heating process can be expressed as

Re=U2P=U22πfC U2tanδ=12πfC tanδ=XCtanδ   .

The active power  P  is therefore simply related to the reactive power  Q  by the equation

P=U2Re=U2tanδXC=Q tanδ   .

3.  There are some  additional aspects  worth considering when the operation of the heating equipment is analysed.

The electric field of the capacitor is actually non–uniform: there are end effects present, consisting in the fact that toward the edges of the capacitor plates the electric field lines do not follow straight lines normal to the plates, but are curved outside the domain between the plates (fig. 14.38.a). For the same voltage  u , the electric field strength is generally inversely proportional to the length of the field line,

u=E⋅dr=E dr cos0≃Edr=E l      ⇔      E≃ul   .

Fig. 14.38. 					    Fig. 14.39.

Accordingly, the density of the generated heat is non–uniform, which results in a non–uniform heating of the load. One way to circumvent this difficulty is to enlarge the capacitor plates outside the limits of the load (fig. 14.38.b). The uniform heating of the load is however obtained with the price of a reduced electric efficiency, since the ratio of the load volume to the volume of active electric field is less than unity. A trade-off between heating efficiency and uniformity is represented by an enlargement of the capacitor plates outside the load limits given by

a≥d2π ln135p   ,

where  d  is the distance between the capacitor plates and  p  is the allowed percentage of heating non–uniformity.

The space between the capacitor plates is not completely filled by the load: there always remains an air gap between at least one plate (usually – the upper plate) and the load (fig. 14.39), which results again in a non–uniform field inside the capacitor. By assuming straight field lines normal to the capacitor plates in the domain between the plates, and neglecting the outer field, then an argument based on Gauss’s law, similar to that used in the derivation of the capacitance of the parallel–plate capacitor, results in a constant value of the electric displacement between the capacitor plates, namely

D=qS   .

Accordingly, the electric field strength assumes different values  E0  in the air gap and  Ed  in the load of relative permittivity  r , since

D=ε0E0=ε0εrEd      ⇔      EdE0=1εr   .

On the other hand, if  g  is the length of the airgap and  h  is the width of the load, such that  d = g + h , then the electric voltage between the plates is

u=E⋅dr=E dr cos0=E0dr+Eddr=E0g+Edh   .

The last equations result in

Edhh=E0gεrg=Edh+E0gh+εrg=uh+εrg   ,

whence

Ed=uh+εrg=uh+gdh+εrg=ud1h/d+εrg/d=Ed fullh/d+εrg/d   .

Thus, the electric field strength in the load  Ed  is smaller than the value  Ed full , corresponding to the case when the load completely fills the space between the capacitor plates. A practical indication can be formulated then: under a given voltage  U , a proper dielectric heating, which requires a definite value  Ed  of the electric field strength in the load, can be adjusted by controlling the air gap  g . On the other hand, a large value of the relative permittivity  r  of the load determines a greater electric field strength in the air gap, which imposes limits on the applied voltage, in order to avoid the electric breakdown of the air gap (that is, the ignition of an electric current in the ionised airgap).

4.  The  dissipated power  (that is the rate of heat generation) in the load is

P=2πfC U2tanδ=2πfε Sd U2tanδ=2πfSd ε Ud2tanδ=4πfV ε E2dtanδ  ,

and it increases along with the increasing of loss angle   , (average) electric field strength  E , permittivity   , and frequency  f .

The increase of the (average) electric field strength is limited by the danger of dielectric breakdown – especially in the air gap. As well, the increase of the operating frequency is limited by the fact that, in order that the equipment operate efficiently, the frequency must be around the resonant frequency of the equivalent circuit,

f0=12πLC   .

Since the capacitance value  C0  is imposed by the load and there exists a minimal value of the inductance  Lmin  for a given configuration of the circuit, it follows that there exists a maximum acceptable operating frequency,

fmax=12πLminC0   ,

which lies in the range of  100 MHz .

The loss angle    and the (relative) permittivity  r  depend on the load substance and its physical state. For example, for usual casting core materials subjected to drying by dielectric heating, these parameters depend on the temperature and, consequently, on the drying level of the core (fig. 14.40). In this particular case one can notice that the load overheating is avoided, since the loss tangent  tan  decreases sharply above 100C . The effect is a uniform heating of the load, since the heating is concentrated locally around points where the core is still wet and the loss tangent is greater, and is significantly lower where great values of temperature are already reached and the core is already dry.

Fig. 14.40. 				       Fig. 14.41.

The electric voltage is generated by special–purpose electronic generators of very high frequency (of the order of 10 MHz), and is applied to the load capacitor via a matching transformer, intended to compensate, by its inductive impedance, the capacitive impedance of the load. The load is energised in groups of loads, introduced in capacitors connected in different ways: parallel (fig. 14.41.a), series–parallel (fig. 14.41.b), or with centre tap transformer (fig. 14.41.c).